## Report
Test Report Air Pollution Measurement
NO2 | Nitrogen dioxide measurement by means of passive sampler
customer information |  |  |  |  | passive samplers |  |  | analysis |  |  |  | test report
customer: | Deutsche Umwelthilfe |  |  |  | date received: | 06.02.2023 |  | method: | SP01 photometer, Salzmann |  |  | created on: | 09.02.2023
customer ID: | DDU |  |  |  | type: | tube (Palms) |  | analyte: | NO2 |  |  | created by: | K. Bodei
contact person: | Hanna Rhein, Robin Kulpa |  |  |  | pollutant: | NO2 |  | date: | 07.02.2023 |  |  | checked on: | 13.02.2023
project: | Prag, January |  |  |  | limit of detection: | 0.75 ug/m3 (14 days) |  | place: | passam ag |  |  | checked by: | T. Hangartner
reference: |  |  |  |  | sampling rate: | 0.734 | [ml/min] |  |  |  |  | file name: | DDU012301
[5 empty] | protective filter: | yes | [5 empty] | pages: | 1
note: | applies to the sample as received; results below the detection limit are indicated with "<" and the associated value; this method is accredited to ISO/IEC 17025
measurement uncertainty <25%; sampling rate related to 20 °C; further information at www.passam.ch
measuring site | passive sampler |  | measuring period |  |  |  |  | measurement |  |  | result |  | Comment on the analysis
|  |  | start |  | end |  | exp. time | blank | sample |  | m analyte/ sampler | C
| label | lot no. | [6 empty] | dilution | value |  | NO2
|  |  | date | time | date | time | [h] | [ABS] |  | [ABS] | [ug] | [ug/m3]
Sokolská/Ječná , Prague | DDU-20 | 44187 | 2022-12-28 | 14:58 | 2023-01-26 | 10:49 | 691.85 | 0.001 | 1:2 | 0.352 | 1.5622 | 51.272 | specs not met: shelf life;
Rumunská / Legerova, Prague | 828 | 44187 | 2022-12-28 | 14:51 | 2023-01-26 | 10:42 | 691.85 | 0.001 | 1:2 | 0.289 | 1.2822 | 42.083 | specs not met: shelf life;
Ječná / Štěpánská, Prague | 89 | 44187 | 2022-12-28 | 15:06 | 2023-01-26 | 10:54 | 696 | 0.001 | 1:2 | 0.32 | 1.42 | 46.327 | specs not met: shelf life;
Florenc (bus stop), Prague | 60 | 44187 | 2022-12-28 | 16:02 | 2023-01-26 | 11:45 | 696 | 0.001 | 1:2 | 0.247 | 1.0956 | 35.742 | specs not met: shelf life;
Křižovnická | 47 | 44187 | 2022-12-28 | 15:48 | 2023-01-26 | 11:35 | 691.7833 | 0.001 | 1:2 | 0.256 | 1.1356 | 37.273 | specs not met: shelf life;
5. května / Na Veselí , Prague | 469 | 44187 | 2022-12-28 | 13:25 | 2023-01-27 | 12:14 | 718.8167 | 0.001 | 1:2 | 0.187 | 0.82889 | 26.184 | specs not met: shelf life;
V Botanice 4 (KÚ), Prague | 1593 | 44188 | 2022-12-28 | 15:16 | 2023-01-26 | 11:05 | 691.8167 | 0.001 | 1:2 | 0.281 | 1.2467 | 40.918 | specs not met: shelf life;
Plzeňská 38a, Prague | 50 | 44187 | 2022-12-28 | 15:24 | 2023-01-26 | 11:11 | 691.7833 | 0.001 | 1:2 | 0.367 | 1.6289 | 53.466 | specs not met: shelf life;
Patočkova / Malovanka | 64 | 44187 | 2022-12-28 | 11:48 | 2023-01-27 | 10:15 | 718.45 | 0.001 | 1:2 | 0.226 | 1.0022 | 31.675 | specs not met: shelf life;
Kafkova / Svatovítská, Prague | 66 | 44187 | 2022-12-28 | 11:37 | 2023-01-27 | 10:03 | 718.4333 | 0.001 | 1:2 | 0.201 | 0.89111 | 28.164 | specs not met: shelf life;
V Holešovičkách 8/10, Prague | 21 | 44187 | 2022-12-28 | 12:24 | 2023-01-27 | 11:10 | 718.7667 | 0.001 | 1:2 | 0.287 | 1.2733 | 40.226 | specs not met: shelf life;
Argentinská / Dělnická | 432 | 44187 | 2022-12-28 | 12:19 | 2023-01-27 | 11:05 | 718.7667 | 0.001 | 1:2 | 0.23 | 1.02 | 32.223 | specs not met: shelf life;
Českomoravská Balabenka | 76 | 44187 | 2022-12-28 | 12:35 | 2023-01-27 | 11:22 | 718.7833 | 0.001 | 1:2 | 0.213 | 0.94444 | 29.835 | specs not met: shelf life;
Flora-mall (bus stop), Prague | 497 | 44187 | 2022-12-28 | 17:20 | 2023-01-26 | 12:07 | 690.7833 | 0.001 | 1:2 | 0.223 | 0.98889 | 32.506 | specs not met: shelf life;
Spořilov, Prague | 48 | 44187 | 2022-12-28 | 13:15 | 2023-01-27 | 12:02 | 718.7833 | 0.001 | 1:2 | 0.232 | 1.0289 | 32.503 | specs not met: shelf life;
Radlická / Klicperova, Prague | 41 |  | 2022-12-28 | 15:34 | [8 empty] | sampler not received
Na pískách / Evropská, Prague | 411 | 44187 | 2022-12-28 | 11:59 | 2023-01-27 | 10:33 | 718.5667 | 0.001 | 1:2 | 0.322 | 1.4289 | 45.153 | specs not met: shelf life;
Bělocerkevská (bus stop), Prague | 17 | 44187 | 2022-12-28 | 13:03 | 2023-01-27 | 11:46 | 718.7167 | 0.001 | 1:2 | 0.199 | 0.88222 | 27.872 | specs not met: shelf life;
Veletržní/Sochařská, Prague | 488 | 44187 | 2022-12-28 | 11:29 | 2023-01-27 | 9:42 | 718.2167 | 0.001 | 1:2 | 0.245 | 1.0867 | 34.355 | specs not met: shelf life;
J.Želivského / Biskupcova | 59 | 44187 | 2022-12-28 | 12:51 | 2023-01-26 | 11:57 | 695.1 | 0.001 | 1:2 | 0.258 | 1.1444 | 37.385 | specs not met: shelf life;

## Annex - Sampling
Sampling information
Annex: Test Report Air Pollution Measurement DDU012301
NO2 | Nitrogen dioxide measurement by means of passive sampler
measuring site | passive sampler | measuring period |  |  |  | Optional information
|  | start |  | end |  | Temp | air pressure | Comment on sampling
label
|  | date | time | date | time | [°C] | [hPa]
Sokolská/Ječná , Prague | DDU-20 | 2022-12-28 | 14:58 | 2023-01-26 | 10:49
Rumunská / Legerova, Prague | 828 | 2022-12-28 | 14:51 | 2023-01-26 | 10:42
Ječná / Štěpánská, Prague | 89 | 2022-12-28 |  | 2023-01-26 | 10:54
Florenc (bus stop), Prague | 60 | 2022-12-28 |  | 2023-01-26 | 11:45
Křižovnická | 47 | 2022-12-28 | 15:48 | 2023-01-26 | 11:35
5. května / Na Veselí , Prague | 469 | 2022-12-28 | 13:25 | 2023-01-27 | 12:14
V Botanice 4 (KÚ), Prague | 1593 | 2022-12-28 | 15:16 | 2023-01-26 | 11:05
Plzeňská 38a, Prague | 50 | 2022-12-28 | 15:24 | 2023-01-26 | 11:11
Patočkova / Malovanka | 64 | 2022-12-28 | 11:48 | 2023-01-27 | 10:15
Kafkova / Svatovítská, Prague | 66 | 2022-12-28 | 11:37 | 2023-01-27 | 10:03
V Holešovičkách 8/10, Prague | 21 | 2022-12-28 | 12:24 | 2023-01-27 | 11:10
Argentinská / Dělnická | 432 | 2022-12-28 | 12:19 | 2023-01-27 | 11:05
Českomoravská Balabenka | 76 | 2022-12-28 | 12:35 | 2023-01-27 | 11:22
Flora-mall (bus stop), Prague | 497 | 2022-12-28 | 17:20 | 2023-01-26 | 12:07
Spořilov, Prague | 48 | 2022-12-28 | 13:15 | 2023-01-27 | 12:02
Radlická / Klicperova, Prague | 41 | 2022-12-28 | 15:34 |  |  |  |  | sensor verloren
Na pískách / Evropská, Prague | 411 | 2022-12-28 | 11:59 | 2023-01-27 | 10:33
Bělocerkevská (bus stop), Prague | 17 | 2022-12-28 | 13:03 | 2023-01-27 | 11:46
Veletržní/Sochařská, Prague | 488 | 2022-12-28 | 11:29 | 2023-01-27 | 9:42
J.Želivského / Biskupcova | 59 | 2022-12-28 | 12:51 | 2023-01-26 | 11:57