## Report
Test Report Air Pollution Measurement
NO2 | Nitrogen dioxide measurement by means of passive sampler
customer information |  |  |  |  | passive samplers |  |  | analysis |  |  |  | test report
customer: | Deutsche Umwelthilfe |  |  |  | date received: | 09.03.2022 |  | method: | SP01 photometer, Salzmann |  |  | created on: | 11.03.2022
customer ID: | DDU |  |  |  | type: | tube (Palms) |  | analyte: | NO2 |  |  | created by: | K. Bodei
contact person: | Hanna Rhein, Robin Kulpa |  |  |  | pollutant: | NO2 |  | date: | 10.03.2022 |  |  | checked on: | 14.03.2022
project: | Prague, February |  |  |  | limit of detection: | 0.75 ug/m3 (14 days) |  | place: | passam ag |  |  | checked by: | S. Huber
reference: |  |  |  |  | sampling rate: | 0.734 | [ml/min] |  |  |  |  | file name: | DDU012207
[5 empty] | protective filter: | yes | [5 empty] | pages: | 1
note: | applies to the sample as received; results below the detection limit are indicated with "<" and the associated value; this method is accredited to ISO 17025
measurement uncertainty <25%; sampling rate related to 20 °C; further information at www.passam.ch
measuring site | passive sampler |  | measuring period |  |  |  |  | measurement |  |  | result |  | Comment on the analysis
|  |  | start |  | end |  | exp. time | blank | sample |  | m analyte/ sampler | C
| label | lot no. | [6 empty] | dilution | value |  | NO2
|  |  | date | time | date | time | [h] | [ABS] |  | [ABS] | [ug] | [ug/m3]
Sokolská/Ječná , Prague | DDU-162 | 44187 | 2022-02-01 | 8:43 | 2022-03-03 | 9:27 | 720.7333 | 0.001 | 1:2 | 0.227 | 1.0067 | 31.715
Rumunská / Legerova, Prague | 136 | 44187 | 2022-02-01 | 8:34 | 2022-03-03 | 9:20 | 720.7667 | 0.001 | 1:2 | 0.268 | 1.1889 | 37.454
Ječná / Štěpánská, Prague | 196 | 44187 | 2022-02-01 | 8:58 | 2022-03-03 | 9:32 | 720.5667 | 0.001 | 1:2 | 0.291 | 1.2911 | 40.686
Florenc (bus stop), Prague | 122 | 44187 | 2022-02-01 | 13:41 | 2022-03-03 | 10:34 | 716.8833 | 0.001 | 1:2 | 0.284 | 1.26 | 39.909
Křižovnická | 123 | 44187 | 2022-02-01 | 9:26 | 2022-03-03 | 10:22 | 720.9333 | 0.001 | 1:2 | 0.254 | 1.1267 | 35.486
5. května / Na Veselí , Prague | 167 | 44187 | 2022-02-01 | 14:21 | 2022-03-03 | 12:17 | 717.9333 | 0.001 | 1:2 | 0.249 | 1.1044 | 34.931
V Botanice 4 (KÚ), Prague | 137 | 44187 | 2022-02-01 | 10:31 | 2022-03-03 | 9:42 | 719.1833 | 0.001 | 1:2 | 0.266 | 1.18 | 37.256
Plzeňská 38a, Prague | 144 | 44187 | 2022-02-01 | 10:44 | 2022-03-03 | 9:52 | 719.1333 | 0.001 | 1:2 | 0.376 | 1.6689 | 52.695
Patočkova / Malovanka | 149 | 44187 | 2022-02-01 | 11:05 | 2022-03-03 | 14:49 | 723.7333 | 0.001 | 1:2 | 0.211 | 0.93556 | 29.353
Kafkova / Svatovítská, Prague | 107 | 44187 | 2022-02-01 | 11:27 | 2022-03-03 | 14:38 | 723.1833 | 0.001 | 1:2 | 0.234 | 1.0378 | 32.584
V Holešovičkách 8/10, Prague | 198 | 44187 | 2022-02-01 | 12:00 | 2022-03-03 | 15:31 | 723.5167 | 0.001 | 1:2 | 0.287 | 1.2733 | 39.962
Argentinská / Dělnická | 174 | 44187 | 2022-02-01 | 11:53 | 2022-03-03 | 15:20 | 723.45 | 0.001 | 1:2 | 0.232 | 1.0289 | 32.293
Českomoravská Balabenka | 179 | 44187 | 2022-02-01 | 12:13 | 2022-03-03 | 15:45 | 723.5333 | 0.001 | 1:2 | 0.248 | 1.1 | 34.521
Flora-mall (bus stop), Prague | 145 | 44187 | 2022-02-01 | 9:44 | 2022-03-03 | 11:35 | 721.85 | 0.001 | 1:2 | 0.24 | 1.0644 | 33.483
Spořilov, Prague | 128 | 44187 | 2022-02-01 | 14:09 | 2022-03-03 | 12:08 | 717.9833 | 0.001 | 1:2 | 0.28 | 1.2422 | 39.286
Radlická / Klicperova, Prague | 117 | 44187 | 2022-02-01 | 10:41 | 2022-03-03 | 10:02 | 719.35 | 0.001 | 1:2 | 0.325 | 1.4422 | 45.524
Na pískách / Evropská, Prague | 190 | 44187 | 2022-02-01 | 11:15 | 2022-03-03 | 15:02 | 723.7833 | 0.001 | 1:2 | 0.304 | 1.3489 | 42.318
Bělocerkevská (bus stop), Prague | 151 | 44187 | 2022-02-01 | 13:58 | 2022-03-03 | 11:57 | 717.9833 | 0.001 | 1:2 | 0.228 | 1.0111 | 31.977
Veletržní/Sochařská, Prague | 172 | 44187 | 2022-02-01 | 11:39 | 2022-03-03 | 14:21 | 722.7 | 0.001 | 1:2 | 0.282 | 1.2511 | 39.309
J.Želivského / Biskupcova | 129 | 44187 | 2022-02-01 | 12:29 | 2022-03-03 | 16:04 | 723.5833 | 0.001 | 1:2 | 0.32 | 1.42 | 44.561

## Annex - Sampling
Sampling information
Annex: Test Report Air Pollution Measurement DDU012207
NO2 | Nitrogen dioxide measurement by means of passive sampler
measuring site | passive sampler | measuring period |  |  |  | Optional information
|  | start |  | end |  | Temp | air pressure | Comment on sampling
label
|  | date | time | date | time | [°C] | [hPa]
Sokolská/Ječná , Prague | DDU-162 | 2022-02-01 | 8:43 | 2022-03-03 | 9:27
Rumunská / Legerova, Prague | 136 | 2022-02-01 | 8:34 | 2022-03-03 | 9:20
Ječná / Štěpánská, Prague | 196 | 2022-02-01 | 8:58 | 2022-03-03 | 9:32
Florenc (bus stop), Prague | 122 | 2022-02-01 | 13:41 | 2022-03-03 | 10:34
Křižovnická | 123 | 2022-02-01 | 9:26 | 2022-03-03 | 10:22
5. května / Na Veselí , Prague | 167 | 2022-02-01 | 14:21 | 2022-03-03 | 12:17
V Botanice 4 (KÚ), Prague | 137 | 2022-02-01 | 10:31 | 2022-03-03 | 9:42
Plzeňská 38a, Prague | 144 | 2022-02-01 | 10:44 | 2022-03-03 | 9:52
Patočkova / Malovanka | 149 | 2022-02-01 | 11:05 | 2022-03-03 | 14:49
Kafkova / Svatovítská, Prague | 107 | 2022-02-01 | 11:27 | 2022-03-03 | 14:38
V Holešovičkách 8/10, Prague | 198 | 2022-02-01 | 12:00 | 2022-03-03 | 15:31
Argentinská / Dělnická | 174 | 2022-02-01 | 11:53 | 2022-03-03 | 15:20
Českomoravská Balabenka | 179 | 2022-02-01 | 12:13 | 2022-03-03 | 15:45
Flora-mall (bus stop), Prague | 145 | 2022-02-01 | 9:44 | 2022-03-03 | 11:35
Spořilov, Prague | 128 | 2022-02-01 | 14:09 | 2022-03-03 | 12:08
Radlická / Klicperova, Prague | 117 | 2022-02-01 | 10:41 | 2022-03-03 | 10:02
Na pískách / Evropská, Prague | 190 | 2022-02-01 | 11:15 | 2022-03-03 | 15:02
Bělocerkevská (bus stop), Prague | 151 | 2022-02-01 | 13:58 | 2022-03-03 | 11:57
Veletržní/Sochařská, Prague | 172 | 2022-02-01 | 11:39 | 2022-03-03 | 14:21
J.Želivského / Biskupcova | 129 | 2022-02-01 | 12:29 | 2022-03-03 | 16:04