## Report
Test Report Air Pollution Measurement
NO2 | Nitrogen dioxide measurement by means of passive sampler
customer information |  |  |  |  | passive samplers |  |  | analysis |  |  |  | test report
customer: | Deutsche Umwelthilfe |  |  |  | date received: | 11.04.2022 |  | method: | SP01 photometer, Salzmann |  |  | created on: | 12.04.2022
customer ID: | DDU |  |  |  | type: | tube (Palms) |  | analyte: | NO2 |  |  | created by: | K. Bodei
contact person: | Hanna Rhein, Robin Kulpa |  |  |  | pollutant: | NO2 |  | date: | 11.04.2022 |  |  | checked on: | 13.04.2022
project: | Prag, März |  |  |  | limit of detection: | 0.75 ug/m3 (14 days) |  | place: | passam ag |  |  | checked by: | C. Panier
reference: |  |  |  |  | sampling rate: | 0.734 | [ml/min] |  |  |  |  | file name: | DDU012211
[5 empty] | protective filter: | yes | [5 empty] | pages: | 1
note: | applies to the sample as received; results below the detection limit are indicated with "<" and the associated value; this method is accredited to ISO 17025
measurement uncertainty <25%; sampling rate related to 20 °C; further information at www.passam.ch
measuring site | passive sampler |  | measuring period |  |  |  |  | measurement |  |  | result |  | Comment on the analysis
|  |  | start |  | end |  | exp. time | blank | sample |  | m analyte/ sampler | C
| label | lot no. | [6 empty] | dilution | value |  | NO2
|  |  | date | time | date | time | [h] | [ABS] |  | [ABS] | [ug] | [ug/m3]
Sokolská/Ječná , Prague | DDU-133 |  | 2022-03-03 | 9:27 | [8 empty] | sampler not received
Rumunská / Legerova, Prague | 177 | 44187 | 2022-03-03 | 9:20 | 2022-04-02 | 10:55 | 721.5833 | 0.001 | 1:2 | 0.386 | 1.7133 | 53.915
Ječná / Štěpánská, Prague | 197 | 44187 | 2022-03-03 | 9:32 | 2022-04-02 | 11:07 | 721.5833 | 0.001 | 1:2 | 0.358 | 1.5889 | 49.999
Florenc (bus stop), Prague | 169 | 44187 | 2022-03-03 | 10:34 | 2022-04-02 | 11:50 | 721.2667 | 0.001 | 1:2 | 0.322 | 1.4289 | 44.984
Křižovnická | 155 | 44187 | 2022-03-03 | 10:22 | 2022-04-02 | 11:41 | 721.3167 | 0.001 | 1:2 | 0.303 | 1.3444 | 42.322
5. května / Na Veselí , Prague | 143 | 44187 | 2022-03-03 | 12:17 | 2022-04-02 | 16:37 | 724.3333 | 0.001 | 1:2 | 0.308 | 1.3667 | 42.843
V Botanice 4 (KÚ), Prague | 164 | 44187 | 2022-03-03 | 9:42 | 2022-04-02 | 11:14 | 721.5333 | 0.001 | 1:2 | 0.392 | 1.74 | 54.758
Plzeňská 38a, Prague | 146 | 44187 | 2022-03-03 | 9:52 | 2022-04-02 | 11:20 | 721.4667 | 0.001 | 1:2 | 0.473 | 2.1 | 66.093
Patočkova / Malovanka | 170 | 44187 | 2022-03-03 | 14:49 | 2022-04-02 | 14:40 | 719.85 | 0.001 | 1:2 | 0.396 | 1.7578 | 55.447
Kafkova / Svatovítská, Prague | 140 | 44187 | 2022-03-03 | 14:38 | 2022-04-02 | 14:54 | 720.2667 | 0.001 | 1:2 | 0.291 | 1.2911 | 40.703
V Holešovičkách 8/10, Prague | 108 | 44187 | 2022-03-03 | 15:31 | 2022-04-02 | 15:18 | 719.7833 | 0.001 | 1:2 | 0.345 | 1.5311 | 48.301
Argentinská / Dělnická | 120 | 44187 | 2022-03-03 | 15:20 | 2022-04-02 | 15:12 | 719.8667 | 0.001 | 1:2 | 0.256 | 1.1356 | 35.819
Českomoravská Balabenka | 181 | 44187 | 2022-03-03 | 15:45 | 2022-04-02 | 15:34 | 719.8167 | 0.001 | 1:2 | 0.28 | 1.2422 | 39.186
Flora-mall (bus stop), Prague | 126 | 44187 | 2022-03-03 | 11:35 | 2022-04-02 | 14:05 | 722.5 | 0.001 | 1:2 | 0.298 | 1.3222 | 41.555
Spořilov, Prague | 111 | 44187 | 2022-03-03 | 12:08 | 2022-04-02 | 16:06 | 723.9667 | 0.001 | 1:2 | 0.329 | 1.46 | 45.792
Radlická / Klicperova, Prague | 183 | 44187 | 2022-03-03 | 10:02 | 2022-04-02 | 11:25 | 721.3833 | 0.001 | 1:2 | 0.387 | 1.7178 | 54.07
Na pískách / Evropská, Prague | 166 | 44187 | 2022-03-03 | 15:02 | 2022-04-02 | 14:47 | 719.75 | 0.001 | 1:2 | 0.367 | 1.6289 | 51.388
Bělocerkevská (bus stop), Prague | 192 | 44187 | 2022-03-03 | 11:57 | 2022-04-02 | 15:56 | 723.9833 | 0.001 | 1:2 | 0.312 | 1.3844 | 43.421
Veletržní/Sochařská, Prague | 116 | 44187 | 2022-03-03 | 14:21 | 2022-04-02 | 15:03 | 720.7 | 0.001 | 1:2 | 0.37 | 1.6422 | 51.74
J.Želivského / Biskupcova | 175 | 44187 | 2022-03-03 | 16:04 | 2022-04-02 | 15:48 | 719.7333 | 0.001 | 1:2 | 0.347 | 1.54 | 48.585

## Annex - Sampling
Sampling information
Annex: Test Report Air Pollution Measurement DDU012211
NO2 | Nitrogen dioxide measurement by means of passive sampler
measuring site | passive sampler | measuring period |  |  |  | Optional information
|  | start |  | end |  | Temp | air pressure | Comment on sampling
label
|  | date | time | date | time | [°C] | [hPa]
Sokolská/Ječná , Prague | DDU-133 | 2022-03-03 | 9:27 |  |  |  |  | Sampler lost
Rumunská / Legerova, Prague | 177 | 2022-03-03 | 9:20 | 2022-04-02 | 10:55
Ječná / Štěpánská, Prague | 197 | 2022-03-03 | 9:32 | 2022-04-02 | 11:07
Florenc (bus stop), Prague | 169 | 2022-03-03 | 10:34 | 2022-04-02 | 11:50
Křižovnická | 155 | 2022-03-03 | 10:22 | 2022-04-02 | 11:41
5. května / Na Veselí , Prague | 143 | 2022-03-03 | 12:17 | 2022-04-02 | 16:37
V Botanice 4 (KÚ), Prague | 164 | 2022-03-03 | 9:42 | 2022-04-02 | 11:14
Plzeňská 38a, Prague | 146 | 2022-03-03 | 9:52 | 2022-04-02 | 11:20
Patočkova / Malovanka | 170 | 2022-03-03 | 14:49 | 2022-04-02 | 14:40
Kafkova / Svatovítská, Prague | 140 | 2022-03-03 | 14:38 | 2022-04-02 | 14:54
V Holešovičkách 8/10, Prague | 108 | 2022-03-03 | 15:31 | 2022-04-02 | 15:18
Argentinská / Dělnická | 120 | 2022-03-03 | 15:20 | 2022-04-02 | 15:12
Českomoravská Balabenka | 181 | 2022-03-03 | 15:45 | 2022-04-02 | 15:34
Flora-mall (bus stop), Prague | 126 | 2022-03-03 | 11:35 | 2022-04-02 | 14:05
Spořilov, Prague | 111 | 2022-03-03 | 12:08 | 2022-04-02 | 16:06
Radlická / Klicperova, Prague | 183 | 2022-03-03 | 10:02 | 2022-04-02 | 11:25
Na pískách / Evropská, Prague | 166 | 2022-03-03 | 15:02 | 2022-04-02 | 14:47
Bělocerkevská (bus stop), Prague | 192 | 2022-03-03 | 11:57 | 2022-04-02 | 15:56
Veletržní/Sochařská, Prague | 116 | 2022-03-03 | 14:21 | 2022-04-02 | 15:03
J.Želivského / Biskupcova | 175 | 2022-03-03 | 16:04 | 2022-04-02 | 15:48