## Report
Test Report Air Pollution Measurement
NO2 | Nitrogen dioxide measurement by means of passive sampler
customer information |  |  |  |  | passive samplers |  |  | analysis |  |  |  | test report
customer: | Deutsche Umwelthilfe |  |  |  | date received: | 09.05.2022 |  | method: | SP01 photometer, Salzmann |  |  | created on: | 11.05.2022
customer ID: | DDU |  |  |  | type: | tube (Palms) |  | analyte: | NO2 |  |  | created by: | K. Bodei
contact person: | Hanna Rhein, Robin Kulpa |  |  |  | pollutant: | NO2 |  | date: | 09.05.2022 |  |  | checked on: | 12.05.2022
project: | Prague, April |  |  |  | limit of detection: | 0.75 ug/m3 (14 days) |  | place: | passam ag |  |  | checked by: | S. Huber
reference: |  |  |  |  | sampling rate: | 0.734 | [ml/min] |  |  |  |  | file name: | DDU012219
[5 empty] | protective filter: | yes | [5 empty] | pages: | 1
note: | applies to the sample as received; results below the detection limit are indicated with "<" and the associated value; this method is accredited to ISO 17025
measurement uncertainty <25%; sampling rate related to 20 °C; further information at www.passam.ch
measuring site | passive sampler |  | measuring period |  |  |  |  | measurement |  |  | result |  | Comment on the analysis
|  |  | start |  | end |  | exp. time | blank | sample |  | m analyte/ sampler | C
| label | lot no. | [6 empty] | dilution | value |  | NO2
|  |  | date | time | date | time | [h] | [ABS] |  | [ABS] | [ug] | [ug/m3]
Sokolská/Ječná , Prague | DDU-199 | 44187 | 2022-04-02 | 17:29 | 2022-05-02 | 9:46 | 712.2833 | 0.001 | 1:2 | 0.372 | 1.6511 | 52.635
Rumunská / Legerova, Prague | 124 | 44187 | 2022-04-02 | 10:55 | 2022-05-02 | 9:40 | 718.75 | 0.001 | 1:2 | 0.359 | 1.5933 | 50.336
Ječná / Štěpánská, Prague | 171 | 44187 | 2022-04-02 | 11:07 | 2022-05-02 | 9:52 | 718.75 | 0.001 | 1:2 | 0.324 | 1.4378 | 45.422
Florenc (bus stop), Prague | 102 | 44187 | 2022-04-02 | 11:50 | 2022-05-02 | 10:44 | 718.9 | 0.001 | 1:2 | 0.309 | 1.3711 | 43.307
Křižovnická | 147 | 44187 | 2022-04-02 | 11:41 | 2022-05-02 | 10:34 | 718.8833 | 0.001 | 1:2 | 0.285 | 1.2644 | 39.939
5. května / Na Veselí , Prague | 106 | 44187 | 2022-04-02 | 16:37 | 2022-05-01 | 11:37 | 691 | 0.001 | 1:2 | 0.233 | 1.0333 | 33.956
V Botanice 4 (KÚ), Prague | 184 | 44187 | 2022-04-02 | 11:14 | 2022-05-02 | 10:01 | 718.7833 | 0.001 | 1:2 | 0.348 | 1.5444 | 48.789
Plzeňská 38a, Prague | 127 | 44187 | 2022-04-02 | 11:20 | 2022-05-02 | 10:09 | 718.8167 | 0.001 | 1:2 | 0.425 | 1.8867 | 59.598
Patočkova / Malovanka | 176 | 44187 | 2022-04-02 | 14:35 | 2022-05-01 | 10:20 | 691.75 | 0.001 | 1:2 | 0.264 | 1.1711 | 38.442
Kafkova / Svatovítská, Prague | 110 | 44187 | 2022-04-02 | 14:54 | 2022-05-01 | 10:34 | 691.6667 | 0.001 | 1:2 | 0.24 | 1.0644 | 34.944
V Holešovičkách 8/10, Prague | 161 | 44187 | 2022-04-02 | 15:18 | 2022-05-01 | 10:58 | 691.6667 | 0.001 | 1:2 | 0.287 | 1.2733 | 41.802
Argentinská / Dělnická | 131 | 44187 | 2022-04-02 | 15:12 | 2022-05-01 | 10:53 | 691.6833 | 0.001 | 1:2 | 0.209 | 0.92667 | 30.421
Českomoravská Balabenka | 159 | 44187 | 2022-04-02 | 15:34 | 2022-05-01 | 11:07 | 691.55 | 0.001 | 1:2 | 0.175 | 0.77556 | 25.465
Flora-mall (bus stop), Prague | 139 | 44187 | 2022-04-02 | 14:05 | 2022-05-02 | 11:02 | 716.95 | 0.001 | 1:2 | 0.272 | 1.2067 | 38.217
Spořilov, Prague | 150 | 44187 | 2022-04-02 | 16:06 | 2022-05-01 | 11:30 | 691.4 | 0.001 | 1:2 | 0.287 | 1.2733 | 41.818
Radlická / Klicperova, Prague | 182 | 44187 | 2022-04-02 | 11:25 | 2022-05-02 | 10:15 | 718.8333 | 0.001 | 1:2 | 0.342 | 1.5178 | 47.944
Na pískách / Evropská, Prague | 132 | 44187 | 2022-04-02 | 14:47 | 2022-05-01 | 10:28 | 691.6833 | 0.001 | 1:2 | 0.346 | 1.5356 | 50.409
Bělocerkevská (bus stop), Prague | 168 | 44187 | 2022-04-02 | 15:56 | 2022-05-01 | 11:20 | 691.4 | 0.001 | 1:2 | 0.259 | 1.1489 | 37.731
Veletržní/Sochařská, Prague | 103 | 44187 | 2022-04-02 | 15:03 | 2022-05-01 | 10:43 | 691.6667 | 0.001 | 1:2 | 0.32 | 1.42 | 46.617
J.Želivského / Biskupcova | 113 | 44187 | 2022-04-02 | 15:48 | 2022-05-02 | 10:55 | 715.1167 | 0.001 | 1:2 | 0.31 | 1.3756 | 43.677

## Annex - Sampling
Sampling information
Annex: Test Report Air Pollution Measurement DDU012219
NO2 | Nitrogen dioxide measurement by means of passive sampler
measuring site | passive sampler | measuring period |  |  |  | Optional information
|  | start |  | end |  | Temp | air pressure | Comment on sampling
label
|  | date | time | date | time | [°C] | [hPa]
Sokolská/Ječná , Prague | DDU-199 | 2022-04-02 | 17:29 | 2022-05-02 | 9:46
Rumunská / Legerova, Prague | 124 | 2022-04-02 | 10:55 | 2022-05-02 | 9:40
Ječná / Štěpánská, Prague | 171 | 2022-04-02 | 11:07 | 2022-05-02 | 9:52
Florenc (bus stop), Prague | 102 | 2022-04-02 | 11:50 | 2022-05-02 | 10:44
Křižovnická | 147 | 2022-04-02 | 11:41 | 2022-05-02 | 10:34
5. května / Na Veselí , Prague | 106 | 2022-04-02 | 16:37 | 2022-05-01 | 11:37
V Botanice 4 (KÚ), Prague | 184 | 2022-04-02 | 11:14 | 2022-05-02 | 10:01
Plzeňská 38a, Prague | 127 | 2022-04-02 | 11:20 | 2022-05-02 | 10:09
Patočkova / Malovanka | 176 | 2022-04-02 | 14:35 | 2022-05-01 | 10:20
Kafkova / Svatovítská, Prague | 110 | 2022-04-02 | 14:54 | 2022-05-01 | 10:34
V Holešovičkách 8/10, Prague | 161 | 2022-04-02 | 15:18 | 2022-05-01 | 10:58
Argentinská / Dělnická | 131 | 2022-04-02 | 15:12 | 2022-05-01 | 10:53
Českomoravská Balabenka | 159 | 2022-04-02 | 15:34 | 2022-05-01 | 11:07
Flora-mall (bus stop), Prague | 139 | 2022-04-02 | 14:05 | 2022-05-02 | 11:02
Spořilov, Prague | 150 | 2022-04-02 | 16:06 | 2022-05-01 | 11:30
Radlická / Klicperova, Prague | 182 | 2022-04-02 | 11:25 | 2022-05-02 | 10:15
Na pískách / Evropská, Prague | 132 | 2022-04-02 | 14:47 | 2022-05-01 | 10:28
Bělocerkevská (bus stop), Prague | 168 | 2022-04-02 | 15:56 | 2022-05-01 | 11:20
Veletržní/Sochařská, Prague | 103 | 2022-04-02 | 15:03 | 2022-05-01 | 10:43
J.Želivského / Biskupcova | 113 | 2022-04-02 | 15:48 | 2022-05-02 | 10:55