## Report
Test Report Air Pollution Measurement
NO2 | Nitrogen dioxide measurement by means of passive sampler
customer information |  |  |  |  | passive samplers |  |  | analysis |  |  |  | test report
customer: | Deutsche Umwelthilfe |  |  |  | date received: | 08.06.2022 |  | method: | SP01 photometer, Salzmann |  |  | created on: | 15.06.2022
customer ID: | DDU |  |  |  | type: | tube (Palms) |  | analyte: | NO2 |  |  | created by: | K. Bodei
contact person: | Hanna Rhein, Robin Kulpa |  |  |  | pollutant: | NO2 |  | date: | 13.06.2022 |  |  | checked on: | 16.06.2022
project: | Prag, May |  |  |  | limit of detection: | 0.75 ug/m3 (14 days) |  | place: | passam ag |  |  | checked by: | S. Huber
reference: |  |  |  |  | sampling rate: | 0.734 | [ml/min] |  |  |  |  | file name: | DDU012224
[5 empty] | protective filter: | yes | [5 empty] | pages: | 1
note: | applies to the sample as received; results below the detection limit are indicated with "<" and the associated value; this method is accredited to ISO 17025
measurement uncertainty <25%; sampling rate related to 20 °C; further information at www.passam.ch
measuring site | passive sampler |  | measuring period |  |  |  |  | measurement |  |  | result |  | Comment on the analysis
|  |  | start |  | end |  | exp. time | blank | sample |  | m analyte/ sampler | C
| label | lot no. | [6 empty] | dilution | value |  | NO2
|  |  | date | time | date | time | [h] | [ABS] |  | [ABS] | [ug] | [ug/m3]
Sokolská/Ječná , Prague | DDU-114 | 44187 | 2022-05-02 | 9:46 | 2022-06-01 | 8:31 | 718.75 | 0.001 | 1:2 | 0.41 | 1.82 | 57.497
Rumunská / Legerova, Prague | 173 | 44187 | 2022-05-02 | 9:40 | 2022-06-01 | 8:27 | 718.7833 | 0.001 | 1:2 | 0.385 | 1.7089 | 53.984
Ječná / Štěpánská, Prague | 200 | 44187 | 2022-05-02 | 9:52 | 2022-06-01 | 8:35 | 718.7167 | 0.001 | 1:2 | 0.347 | 1.54 | 48.654
Florenc (bus stop), Prague | 121 | 44187 | 2022-05-02 | 10:44 | 2022-06-01 | 9:33 | 718.8167 | 0.001 | 1:2 | 0.296 | 1.3133 | 41.487
Křižovnická | 112 | 44187 | 2022-05-02 | 10:34 | 2022-06-01 | 9:07 | 718.55 | 0.001 | 1:2 | 0.331 | 1.4689 | 46.418
5. května / Na Veselí , Prague | 160 | 44187 | 2022-05-01 | 11:37 | 2022-06-01 | 15:20 | 747.7167 | 0.001 | 1:2 | 0.232 | 1.0289 | 31.245
V Botanice 4 (KÚ), Prague | 134 | 44187 | 2022-05-02 | 10:01 | 2022-06-01 | 8:42 | 718.6833 | 0.001 | 1:2 | 0.339 | 1.5044 | 47.532
Plzeňská 38a, Prague | 152 | 44187 | 2022-05-02 | 10:09 | 2022-06-01 | 8:47 | 718.6333 | 0.001 | 1:2 | 0.444 | 1.9711 | 62.281
Patočkova / Malovanka | 195 | 44187 | 2022-05-01 | 10:20 | 2022-06-01 | 13:09 | 746.8167 | 0.001 | 1:2 | 0.327 | 1.4511 | 44.12
Kafkova / Svatovítská, Prague | 101 | 44187 | 2022-05-01 | 10:34 | 2022-06-01 | 13:42 | 747.1333 | 0.001 | 1:2 | 0.284 | 1.26 | 38.294
V Holešovičkách 8/10, Prague | 194 | 44187 | 2022-05-01 | 10:58 | 2022-06-01 | 14:18 | 747.3333 | 0.001 | 1:2 | 0.335 | 1.4867 | 45.17
Argentinská / Dělnická | 104 |  | 2022-05-01 | 10:53 | [8 empty] | sampler not received
Českomoravská Balabenka | 105 | 44187 | 2022-05-01 | 11:07 | 2022-06-01 | 14:30 | 747.3833 | 0.001 | 1:2 | 0.217 | 0.96222 | 29.234
Flora-mall (bus stop), Prague | 118 | 44187 | 2022-05-02 | 11:02 | 2022-06-01 | 15:44 | 724.7 | 0.001 | 1:2 | 0.289 | 1.2822 | 40.175
Spořilov, Prague | 119 | 44187 | 2022-05-01 | 11:30 | 2022-06-01 | 15:11 | 747.6833 | 0.001 | 1:2 | 0.349 | 1.5489 | 47.039
Radlická / Klicperova, Prague | 156 | 44187 | 2022-05-02 | 10:15 | 2022-06-01 | 8:53 | 718.6333 | 0.001 | 1:2 | 0.423 | 1.8778 | 59.332
Na pískách / Evropská, Prague | 135 | 44187 | 2022-05-01 | 10:28 | 2022-06-01 | 13:22 | 746.9 | 0.001 | 1:2 | 0.351 | 1.5578 | 47.358
Bělocerkevská (bus stop), Prague | 186 | 44187 | 2022-05-01 | 11:20 | 2022-06-01 | 14:58 | 747.6333 | 0.001 | 1:2 | 0.284 | 1.26 | 38.268
Veletržní/Sochařská, Prague | 158 | 44187 | 2022-05-01 | 10:43 | 2022-06-01 | 13:58 | 747.25 | 0.001 | 1:2 | 0.342 | 1.5178 | 46.121
J.Želivského / Biskupcova | 187 | 44187 | 2022-05-02 | 10:55 | 2022-06-01 | 14:43 | 723.8 | 0.001 | 1:2 | 0.282 | 1.2511 | 39.249

## Annex - Sampling
Sampling information
Annex: Test Report Air Pollution Measurement DDU012224
NO2 | Nitrogen dioxide measurement by means of passive sampler
measuring site | passive sampler | measuring period |  |  |  | Optional information
|  | start |  | end |  | Temp | air pressure | Comment on sampling
label
|  | date | time | date | time | [°C] | [hPa]
Sokolská/Ječná , Prague | DDU-114 | 2022-05-02 | 9:46 | 2022-06-01 | 8:31
Rumunská / Legerova, Prague | 173 | 2022-05-02 | 9:40 | 2022-06-01 | 8:27
Ječná / Štěpánská, Prague | 200 | 2022-05-02 | 9:52 | 2022-06-01 | 8:35
Florenc (bus stop), Prague | 121 | 2022-05-02 | 10:44 | 2022-06-01 | 9:33
Křižovnická | 112 | 2022-05-02 | 10:34 | 2022-06-01 | 9:07
5. května / Na Veselí , Prague | 160 | 2022-05-01 | 11:37 | 2022-06-01 | 15:20
V Botanice 4 (KÚ), Prague | 134 | 2022-05-02 | 10:01 | 2022-06-01 | 8:42
Plzeňská 38a, Prague | 152 | 2022-05-02 | 10:09 | 2022-06-01 | 8:47
Patočkova / Malovanka | 195 | 2022-05-01 | 10:20 | 2022-06-01 | 13:09
Kafkova / Svatovítská, Prague | 101 | 2022-05-01 | 10:34 | 2022-06-01 | 13:42
V Holešovičkách 8/10, Prague | 194 | 2022-05-01 | 10:58 | 2022-06-01 | 14:18
Argentinská / Dělnická | 104 | 2022-05-01 | 10:53 |  |  |  |  | sensor lost
Českomoravská Balabenka | 105 | 2022-05-01 | 11:07 | 2022-06-01 | 14:30
Flora-mall (bus stop), Prague | 118 | 2022-05-02 | 11:02 | 2022-06-01 | 15:44
Spořilov, Prague | 119 | 2022-05-01 | 11:30 | 2022-06-01 | 15:11
Radlická / Klicperova, Prague | 156 | 2022-05-02 | 10:15 | 2022-06-01 | 8:53
Na pískách / Evropská, Prague | 135 | 2022-05-01 | 10:28 | 2022-06-01 | 13:22 |  |  | sensor found on ground
Bělocerkevská (bus stop), Prague | 186 | 2022-05-01 | 11:20 | 2022-06-01 | 14:58
Veletržní/Sochařská, Prague | 158 | 2022-05-01 | 10:43 | 2022-06-01 | 13:58
J.Želivského / Biskupcova | 187 | 2022-05-02 | 10:55 | 2022-06-01 | 14:43