## Report
Test Report Air Pollution Measurement
NO2 | Nitrogen dioxide measurement by means of passive sampler
customer information |  |  |  |  | passive samplers |  |  | analysis |  |  |  | test report
customer: | Deutsche Umwelthilfe |  |  |  | date received: | 12.07.2022 |  | method: | SP01 photometer, Salzmann |  |  | created on: | 18.07.2022
customer ID: | DDU |  |  |  | type: | tube (Palms) |  | analyte: | NO2 |  |  | created by: | S. Huber
contact person: | Hanna Rhein, Robin Kulpa |  |  |  | pollutant: | NO2 |  | date: | 15.07.2022 |  |  | checked on: | 21.07.2022
project: | Prag, June |  |  |  | limit of detection: | 0.75 ug/m3 (14 days) |  | place: | passam ag |  |  | checked by: | B. Michen
reference: |  |  |  |  | sampling rate: | 0.734 | [ml/min] |  |  |  |  | file name: | DDU012229
[5 empty] | protective filter: | yes | [5 empty] | pages: | 1
note: | applies to the sample as received; results below the detection limit are indicated with "<" and the associated value; this method is accredited to ISO 17025
measurement uncertainty <25%; sampling rate related to 20 °C; further information at www.passam.ch
measuring site | passive sampler |  | measuring period |  |  |  |  | measurement |  |  | result |  | Comment on the analysis
|  |  | start |  | end |  | exp. time | blank | sample |  | m analyte/ sampler | C
| label | lot no. | [6 empty] | dilution | value |  | NO2
|  |  | date | time | date | time | [h] | [ABS] |  | [ABS] | [ug] | [ug/m3]
Sokolská/Ječná , Prague | DDU-188 | 44187 | 2022-06-01 | 8:31 | 2022-07-01 | 16:43 | 728.2 | 0.001 | 1:2 | 0.472 | 2.0956 | 65.343
Rumunská / Legerova, Prague | 141 | 44187 | 2022-06-01 | 8:27 | 2022-07-01 | 16:38 | 728.1833 | 0.001 | 1:2 | 0.436 | 1.9356 | 60.356
Ječná / Štěpánská, Prague | 148 | 44187 | 2022-06-01 | 8:35 | 2022-07-01 | 16:49 | 728.2333 | 0.001 | 1:2 | 0.345 | 1.5311 | 47.741
Florenc (bus stop), Prague | 163 | 44187 | 2022-06-01 | 9:33 | 2022-07-01 | 17:34 | 728.0167 | 0.001 | 1:2 | 0.304 | 1.3489 | 42.071
Křižovnická | 115 | 44187 | 2022-06-01 | 9:07 | 2022-07-01 | 17:25 | 728.3 | 0.001 | 1:2 | 0.32 | 1.42 | 44.272
5. května / Na Veselí , Prague | 157 | 44187 | 2022-06-01 | 15:20 | 2022-07-02 | 11:00 | 739.6667 | 0.001 | 1:2 | 0.219 | 0.97111 | 29.812
V Botanice 4 (KÚ), Prague | 130 | 44187 | 2022-06-01 | 8:42 | 2022-07-01 | 16:57 | 728.25 | 0.001 | 1:2 | 0.317 | 1.4067 | 43.86
Plzeňská 38a, Prague | 178 | 44187 | 2022-06-01 | 8:47 | 2022-07-01 | 17:03 | 728.2667 | 0.001 | 1:2 | 0.435 | 1.9311 | 60.21
Patočkova / Malovanka | 153 | 44187 | 2022-06-01 | 13:09 | 2022-07-02 | 9:51 | 740.7 | 0.001 | 1:2 | 0.296 | 1.3133 | 40.261
Kafkova / Svatovítská, Prague | 138 |  | 2022-06-01 | 13:42 | [8 empty] | sampler not received
V Holešovičkách 8/10, Prague | 142 | 44187 | 2022-06-01 | 14:18 | 2022-07-02 | 10:32 | 740.2333 | 0.001 | 1:2 | 0.336 | 1.4911 | 45.74
Argentinská / Dělnická | 165 | 44187 | 2022-06-02 | 13:08 | 2022-07-01 | 17:43 | 700.5833 | 0.001 | 1:2 | 0.179 | 0.79333 | 25.713
Českomoravská Balabenka | 193 | 44187 | 2022-06-01 | 14:30 | 2022-07-02 | 10:38 | 740.1333 | 0.001 | 1:2 | 0.205 | 0.90889 | 27.884
Flora-mall (bus stop), Prague | 154 | 44187 | 2022-06-01 | 15:44 | 2022-07-01 | 18:14 | 722.5 | 0.001 | 1:2 | 0.31 | 1.3756 | 43.231
Spořilov, Prague | 109 | 44187 | 2022-06-01 | 15:11 | 2022-07-02 | 11:02 | 739.85 | 0.001 | 1:2 | 0.308 | 1.3667 | 41.944
Radlická / Klicperova, Prague | 185 | 44187 | 2022-06-01 | 8:53 | 2022-07-01 | 17:10 | 728.2833 | 0.001 | 1:2 | 0.414 | 1.8378 | 57.299
Na pískách / Evropská, Prague | 180 | 44187 | 2022-06-01 | 13:22 | 2022-07-02 | 10:00 | 740.6333 | 0.001 | 1:2 | 0.341 | 1.5133 | 46.396
Bělocerkevská (bus stop), Prague | 189 | 44187 | 2022-06-01 | 14:58 | 2022-07-02 | 10:53 | 739.9167 | 0.001 | 1:2 | 0.267 | 1.1844 | 36.348
Veletržní/Sochařská, Prague | 191 | 44187 | 2022-06-01 | 13:58 | 2022-07-02 | 10:21 | 740.3833 | 0.001 | 1:2 | 0.34 | 1.5089 | 46.276
J.Želivského / Biskupcova | 125 | 44187 | 2022-06-01 | 14:43 | 2022-07-01 | 18:06 | 723.3833 | 0.001 | 1:2 | 0.295 | 1.3089 | 41.085

## Annex - Sampling
Sampling information
Annex: Test Report Air Pollution Measurement DDU012229
NO2 | Nitrogen dioxide measurement by means of passive sampler
measuring site | passive sampler | measuring period |  |  |  | Optional information
|  | start |  | end |  | Temp | air pressure | Comment on sampling
label
|  | date | time | date | time | [°C] | [hPa]
Sokolská/Ječná , Prague | DDU-188 | 2022-06-01 | 8:31 | 2022-07-01 | 16:43
Rumunská / Legerova, Prague | 141 | 2022-06-01 | 8:27 | 2022-07-01 | 16:38
Ječná / Štěpánská, Prague | 148 | 2022-06-01 | 8:35 | 2022-07-01 | 16:49
Florenc (bus stop), Prague | 163 | 2022-06-01 | 9:33 | 2022-07-01 | 17:34
Křižovnická | 115 | 2022-06-01 | 9:07 | 2022-07-01 | 17:25
5. května / Na Veselí , Prague | 157 | 2022-06-01 | 15:20 | 2022-07-02 | 11:00
V Botanice 4 (KÚ), Prague | 130 | 2022-06-01 | 8:42 | 2022-07-01 | 16:57
Plzeňská 38a, Prague | 178 | 2022-06-01 | 8:47 | 2022-07-01 | 17:03
Patočkova / Malovanka | 153 | 2022-06-01 | 13:09 | 2022-07-02 | 9:51
Kafkova / Svatovítská, Prague | 138 | 2022-06-01 | 13:42 |  |  |  |  | Sensor verloren
V Holešovičkách 8/10, Prague | 142 | 2022-06-01 | 14:18 | 2022-07-02 | 10:32
Argentinská / Dělnická | 165 | 2022-06-02 | 13:08 | 2022-07-01 | 17:43
Českomoravská Balabenka | 193 | 2022-06-01 | 14:30 | 2022-07-02 | 10:38
Flora-mall (bus stop), Prague | 154 | 2022-06-01 | 15:44 | 2022-07-01 | 18:14
Spořilov, Prague | 109 | 2022-06-01 | 15:11 | 2022-07-02 | 11:02
Radlická / Klicperova, Prague | 185 | 2022-06-01 | 8:53 | 2022-07-01 | 17:10
Na pískách / Evropská, Prague | 180 | 2022-06-01 | 13:22 | 2022-07-02 | 10:00
Bělocerkevská (bus stop), Prague | 189 | 2022-06-01 | 14:58 | 2022-07-02 | 10:53
Veletržní/Sochařská, Prague | 191 | 2022-06-01 | 13:58 | 2022-07-02 | 10:21
J.Želivského / Biskupcova | 125 | 2022-06-01 | 14:43 | 2022-07-01 | 18:06