## Report
Test Report Air Pollution Measurement
NO2 | Nitrogen dioxide measurement by means of passive sampler
customer information |  |  |  |  | passive samplers |  |  | analysis |  |  |  | test report
customer: | Deutsche Umwelthilfe |  |  |  | date received: | 09.08.2022 |  | method: | SP01 photometer, Salzmann |  |  | created on: | 11.08.2022
customer ID: | DDU |  |  |  | type: | tube (Palms) |  | analyte: | NO2 |  |  | created by: | S. Huber
contact person: | Hanna Rhein, Robin Kulpa |  |  |  | pollutant: | NO2 |  | date: | 10.08.2022 |  |  | checked on: | 13.08.2022
project: | Prag, July |  |  |  | limit of detection: | 0.75 ug/m3 (14 days) |  | place: | passam ag |  |  | checked by: | C. Panier
reference: |  |  |  |  | sampling rate: | 0.734 | [ml/min] |  |  |  |  | file name: | DDU012233
[5 empty] | protective filter: | yes | [5 empty] | pages: | 1
note: | applies to the sample as received; results below the detection limit are indicated with "<" and the associated value; this method is accredited to ISO 17025
measurement uncertainty <25%; sampling rate related to 20 °C; further information at www.passam.ch
measuring site | passive sampler |  | measuring period |  |  |  |  | measurement |  |  | result |  | Comment on the analysis
|  |  | start |  | end |  | exp. time | blank | sample |  | m analyte/ sampler | C
| label | lot no. | [6 empty] | dilution | value |  | NO2
|  |  | date | time | date | time | [h] | [ABS] |  | [ABS] | [ug] | [ug/m3]
Sokolská/Ječná , Prague | DDU-487 | 44187 | 2022-07-01 | 16:43 | 2022-08-01 | 10:38 | 737.9167 | 0.001 | 1:2 | 0.433 | 1.9222 | 59.149
Rumunská / Legerova, Prague | 492 | 44187 | 2022-07-01 | 16:38 | 2022-08-01 | 10:32 | 737.9 | 0.001 | 1:2 | 0.337 | 1.4956 | 46.021
Ječná / Štěpánská, Prague | 14 | 44187 | 2022-07-01 | 16:49 | 2022-08-01 | 10:42 | 737.8833 | 0.001 | 1:2 | 0.317 | 1.4067 | 43.287
Florenc (bus stop), Prague | 426 | 44187 | 2022-07-01 | 17:34 | 2022-08-01 | 11:22 | 737.8 | 0.001 | 1:2 | 0.285 | 1.2644 | 38.915
Křižovnická | 55 | 44187 | 2022-07-01 | 17:25 | 2022-08-01 | 11:12 | 737.7833 | 0.001 | 1:2 | 0.328 | 1.4556 | 44.798
5. května / Na Veselí , Prague | 3 | 44187 | 2022-07-02 | 11:00 | 2022-08-01 | 16:29 | 725.4833 | 0.001 | 1:2 | 0.217 | 0.96222 | 30.116
V Botanice 4 (KÚ), Prague | 26 | 44187 | 2022-07-01 | 16:57 | 2022-08-01 | 10:49 | 737.8667 | 0.001 | 1:2 | 0.337 | 1.4956 | 46.023
Plzeňská 38a, Prague | 443 | 44187 | 2022-07-01 | 17:03 | 2022-08-01 | 10:54 | 737.85 | 0.001 | 1:2 | 0.388 | 1.7222 | 53
Patočkova / Malovanka | 437 | 44187 | 2022-07-02 | 9:51 | 2022-08-01 | 15:10 | 725.3167 | 0.001 | 1:2 | 0.305 | 1.3533 | 42.367
Kafkova / Svatovítská, Prague | 100 | 44187 | 2022-07-02 | 10:12 | 2022-08-01 | 15:25 | 725.2167 | 0.001 | 1:2 | 0.237 | 1.0511 | 32.91
V Holešovičkách 8/10, Prague | 858 | 44187 | 2022-07-02 | 10:32 | 2022-08-01 | 15:48 | 725.2667 | 0.001 | 1:2 | 0.268 | 1.1889 | 37.222
Argentinská / Dělnická | 827 | 44187 | 2022-07-01 | 17:43 | 2022-08-01 | 11:30 | 737.7833 | 0.001 | 1:2 | 0.198 | 0.87778 | 27.015
Českomoravská Balabenka | 482 | 44187 | 2022-07-02 | 10:38 | 2022-08-01 | 15:57 | 725.3167 | 0.001 | 1:2 | 0.19 | 0.84222 | 26.366
Flora-mall (bus stop), Prague | 9 | 44187 | 2022-07-01 | 18:14 | 2022-08-01 | 11:56 | 737.7 | 0.001 | 1:2 | 0.255 | 1.1311 | 34.816
Spořilov, Prague | 840 | 44187 | 2022-07-02 | 11:02 | 2022-08-01 | 16:21 | 725.3167 | 0.001 | 1:2 | 0.31 | 1.3756 | 43.063
Radlická / Klicperova, Prague | 11 | 44187 | 2022-07-01 | 17:10 | 2022-08-01 | 10:58 | 737.8 | 0.001 | 1:2 | 0.374 | 1.66 | 51.088
Na pískách / Evropská, Prague | 32 | 44187 | 2022-07-02 | 10:00 | 2022-08-01 | 15:20 | 725.3333 | 0.001 | 1:2 | 0.27 | 1.1978 | 37.497
Bělocerkevská (bus stop), Prague | 888 | 44187 | 2022-07-02 | 10:53 | 2022-08-01 | 16:14 | 725.35 | 0.001 | 1:2 | 0.241 | 1.0689 | 33.461
Veletržní/Sochařská, Prague | 829 | 44187 | 2022-07-02 | 10:21 | 2022-08-01 | 15:37 | 725.2667 | 0.001 | 1:2 | 0.31 | 1.3756 | 43.066
J.Želivského / Biskupcova | 891 | 44187 | 2022-07-01 | 18:06 | 2022-08-01 | 11:48 | 737.7 | 0.001 | 1:2 | 0.27 | 1.1978 | 36.868

## Annex - Sampling
Sampling information
Annex: Test Report Air Pollution Measurement DDU012233
NO2 | Nitrogen dioxide measurement by means of passive sampler
measuring site | passive sampler | measuring period |  |  |  | Optional information
|  | start |  | end |  | Temp | air pressure | Comment on sampling
label
|  | date | time | date | time | [°C] | [hPa]
Sokolská/Ječná , Prague | DDU-487 | 2022-07-01 | 16:43 | 2022-08-01 | 10:38
Rumunská / Legerova, Prague | 492 | 2022-07-01 | 16:38 | 2022-08-01 | 10:32
Ječná / Štěpánská, Prague | 14 | 2022-07-01 | 16:49 | 2022-08-01 | 10:42
Florenc (bus stop), Prague | 426 | 2022-07-01 | 17:34 | 2022-08-01 | 11:22
Křižovnická | 55 | 2022-07-01 | 17:25 | 2022-08-01 | 11:12
5. května / Na Veselí , Prague | 3 | 2022-07-02 | 11:00 | 2022-08-01 | 16:29
V Botanice 4 (KÚ), Prague | 26 | 2022-07-01 | 16:57 | 2022-08-01 | 10:49
Plzeňská 38a, Prague | 443 | 2022-07-01 | 17:03 | 2022-08-01 | 10:54
Patočkova / Malovanka | 437 | 2022-07-02 | 9:51 | 2022-08-01 | 15:10
Kafkova / Svatovítská, Prague | 100 | 2022-07-02 | 10:12 | 2022-08-01 | 15:25
V Holešovičkách 8/10, Prague | 858 | 2022-07-02 | 10:32 | 2022-08-01 | 15:48
Argentinská / Dělnická | 827 | 2022-07-01 | 17:43 | 2022-08-01 | 11:30
Českomoravská Balabenka | 482 | 2022-07-02 | 10:38 | 2022-08-01 | 15:57
Flora-mall (bus stop), Prague | 9 | 2022-07-01 | 18:14 | 2022-08-01 | 11:56
Spořilov, Prague | 840 | 2022-07-02 | 11:02 | 2022-08-01 | 16:21
Radlická / Klicperova, Prague | 11 | 2022-07-01 | 17:10 | 2022-08-01 | 10:58
Na pískách / Evropská, Prague | 32 | 2022-07-02 | 10:00 | 2022-08-01 | 15:20
Bělocerkevská (bus stop), Prague | 888 | 2022-07-02 | 10:53 | 2022-08-01 | 16:14
Veletržní/Sochařská, Prague | 829 | 2022-07-02 | 10:21 | 2022-08-01 | 15:37
J.Želivského / Biskupcova | 891 | 2022-07-01 | 18:06 | 2022-08-01 | 11:48