## Report
Test Report Air Pollution Measurement
NO2 | Nitrogen dioxide measurement by means of passive sampler
customer information |  |  |  |  | passive samplers |  |  | analysis |  |  |  | test report
customer: | Deutsche Umwelthilfe |  |  |  | date received: | 08.09.2022 |  | method: | SP01 photometer, Salzmann |  |  | created on: | 12.09.2022
customer ID: | DDU |  |  |  | type: | tube (Palms) |  | analyte: | NO2 |  |  | created by: | K. Bodei
contact person: | Hanna Rhein, Robin Kulpa |  |  |  | pollutant: | NO2 |  | date: | 08.09.2022 |  |  | checked on: | 13.09.2022
project: | Prag, August |  |  |  | limit of detection: | 0.75 ug/m3 (14 days) |  | place: | passam ag |  |  | checked by: | S. Huber
reference: |  |  |  |  | sampling rate: | 0.734 | [ml/min] |  |  |  |  | file name: | DDU012235
[5 empty] | protective filter: | yes | [5 empty] | pages: | 1
note: | applies to the sample as received; results below the detection limit are indicated with "<" and the associated value; this method is accredited to ISO/IEC 17025
measurement uncertainty <25%; sampling rate related to 20 °C; further information at www.passam.ch
measuring site | passive sampler |  | measuring period |  |  |  |  | measurement |  |  | result |  | Comment on the analysis
|  |  | start |  | end |  | exp. time | blank | sample |  | m analyte/ sampler | C
| label | lot no. | [6 empty] | dilution | value |  | NO2
|  |  | date | time | date | time | [h] | [ABS] |  | [ABS] | [ug] | [ug/m3]
Sokolská/Ječná , Prague | DDU-2798 | 44544 | 2022-08-01 | 10:38 | 2022-08-30 | 9:47 | 695.15 | 0.002 | 1:2 | 0.428 | 1.8978 | 61.99
Rumunská / Legerova, Prague | 2784 | 44544 | 2022-08-01 | 10:32 | 2022-08-30 | 9:43 | 695.1833 | 0.002 | 1:2 | 0.425 | 1.8844 | 61.551
Ječná / Štěpánská, Prague | 433 | 44187 | 2022-08-01 | 10:42 | 2022-08-30 | 9:51 | 695.15 | 0.001 | 1:2 | 0.356 | 1.58 | 51.61
Florenc (bus stop), Prague | 420 | 44187 | 2022-08-01 | 11:22 | 2022-08-30 | 10:37 | 695.25 | 0.001 | 1:2 | 0.312 | 1.3844 | 45.215
Křižovnická | 2761 |  | 2022-08-01 | 11:12 | [8 empty] | sampler not received
5. května / Na Veselí , Prague | 447 | 44187 | 2022-08-01 | 16:29 | 2022-08-30 | 15:41 | 695.2 | 0.001 | 1:2 | 0.229 | 1.0156 | 33.17
V Botanice 4 (KÚ), Prague | 473 | 44187 | 2022-08-01 | 10:49 | 2022-08-30 | 9:58 | 695.15 | 0.001 | 1:2 | 0.321 | 1.4244 | 46.528
Plzeňská 38a, Prague | 2800 | 44544 | 2022-08-01 | 10:54 | 2022-08-30 | 10:04 | 695.1667 | 0.002 | 1:2 | 0.399 | 1.7689 | 57.778
Patočkova / Malovanka | 2742 | 44544 | 2022-08-01 | 15:10 | 2022-08-30 | 14:30 | 695.3333 | 0.002 | 1:2 | 0.349 | 1.5467 | 50.508
Kafkova / Svatovítská, Prague | 2792 | 44544 | 2022-08-01 | 15:25 | 2022-08-30 | 14:24 | 694.9833 | 0.002 | 1:2 | 0.283 | 1.2533 | 40.949
V Holešovičkách 8/10, Prague | 414 | 44187 | 2022-08-01 | 15:48 | 2022-08-30 | 14:55 | 695.1167 | 0.001 | 1:2 | 0.274 | 1.2156 | 39.707
Argentinská / Dělnická | 2744 | 44544 | 2022-08-01 | 11:30 | 2022-08-30 | 10:45 | 695.25 | 0.002 | 1:2 | 0.206 | 0.91111 | 29.757
Českomoravská Balabenka | 2709 | 44544 | 2022-08-01 | 15:57 | 2022-08-30 | 15:04 | 695.1167 | 0.002 | 1:2 | 0.217 | 0.96 | 31.359
Flora-mall (bus stop), Prague | 491 |  | 2022-08-01 | 11:56 | [8 empty] | sampler not received
Spořilov, Prague | 493 | 44187 | 2022-08-01 | 16:21 | 2022-08-30 | 15:35 | 695.2333 | 0.001 | 1:2 | 0.297 | 1.3178 | 43.039
Radlická / Klicperova, Prague | 2755 | 44544 | 2022-08-01 | 10:58 | 2022-08-30 | 10:10 | 695.2 | 0.002 | 1:2 | 0.376 | 1.6667 | 54.437
Na pískách / Evropská, Prague | 444 | 44187 | 2022-08-01 | 15:20 | 2022-08-30 | 14:40 | 695.3333 | 0.001 | 1:2 | 0.344 | 1.5267 | 49.855
Bělocerkevská (bus stop), Prague | 2769 | 44544 | 2022-08-01 | 16:14 | 2022-08-30 | 15:24 | 695.1667 | 0.002 | 1:2 | 0.232 | 1.0267 | 33.535
Veletržní/Sochařská, Prague | 490 | 44187 | 2022-08-01 | 15:37 | 2022-08-30 | 14:14 | 694.6167 | 0.001 | 1:2 | 0.326 | 1.4467 | 47.291
J.Želivského / Biskupcova | 2754 | 44544 | 2022-08-01 | 11:48 | 2022-08-30 | 11:08 | 695.3333 | 0.002 | 1:2 | 0.329 | 1.4578 | 47.605

## Annex - Sampling
Sampling information
Annex: Test Report Air Pollution Measurement DDU012235
NO2 | Nitrogen dioxide measurement by means of passive sampler
measuring site | passive sampler | measuring period |  |  |  | Optional information
|  | start |  | end |  | Temp | air pressure | Comment on sampling
label
|  | date | time | date | time | [°C] | [hPa]
Sokolská/Ječná , Prague | DDU-2798 | 2022-08-01 | 10:38 | 2022-08-30 | 9:47
Rumunská / Legerova, Prague | 2784 | 2022-08-01 | 10:32 | 2022-08-30 | 9:43
Ječná / Štěpánská, Prague | 433 | 2022-08-01 | 10:42 | 2022-08-30 | 9:51
Florenc (bus stop), Prague | 420 | 2022-08-01 | 11:22 | 2022-08-30 | 10:37
Křižovnická | 2761 | 2022-08-01 | 11:12 |  |  |  |  | sensor verloren
5. května / Na Veselí , Prague | 447 | 2022-08-01 | 16:29 | 2022-08-30 | 15:41
V Botanice 4 (KÚ), Prague | 473 | 2022-08-01 | 10:49 | 2022-08-30 | 9:58
Plzeňská 38a, Prague | 2800 | 2022-08-01 | 10:54 | 2022-08-30 | 10:04
Patočkova / Malovanka | 2742 | 2022-08-01 | 15:10 | 2022-08-30 | 14:30
Kafkova / Svatovítská, Prague | 2792 | 2022-08-01 | 15:25 | 2022-08-30 | 14:24
V Holešovičkách 8/10, Prague | 414 | 2022-08-01 | 15:48 | 2022-08-30 | 14:55
Argentinská / Dělnická | 2744 | 2022-08-01 | 11:30 | 2022-08-30 | 10:45
Českomoravská Balabenka | 2709 | 2022-08-01 | 15:57 | 2022-08-30 | 15:04
Flora-mall (bus stop), Prague | 491 | 2022-08-01 | 11:56 |  |  |  |  | sensor verloren
Spořilov, Prague | 493 | 2022-08-01 | 16:21 | 2022-08-30 | 15:35
Radlická / Klicperova, Prague | 2755 | 2022-08-01 | 10:58 | 2022-08-30 | 10:10
Na pískách / Evropská, Prague | 444 | 2022-08-01 | 15:20 | 2022-08-30 | 14:40
Bělocerkevská (bus stop), Prague | 2769 | 2022-08-01 | 16:14 | 2022-08-30 | 15:24
Veletržní/Sochařská, Prague | 490 | 2022-08-01 | 15:37 | 2022-08-30 | 14:14
J.Želivského / Biskupcova | 2754 | 2022-08-01 | 11:48 | 2022-08-30 | 11:08