## Report
Test Report Air Pollution Measurement
NO2 | Nitrogen dioxide measurement by means of passive sampler
customer information |  |  |  |  | passive samplers |  |  | analysis |  |  |  | test report
customer: | Deutsche Umwelthilfe |  |  |  | date received: | 06.10.2022 |  | method: | SP01 photometer, Salzmann |  |  | created on: | 08.10.2022
customer ID: | DDU |  |  |  | type: | tube (Palms) |  | analyte: | NO2 |  |  | created by: | K. Bodei
contact person: | Hanna Rhein, Robin Kulpa |  |  |  | pollutant: | NO2 |  | date: | 06.10.2022 |  |  | checked on: | 12.10.2022
project: | Prague, September |  |  |  | limit of detection: | 0.75 ug/m3 (14 days) |  | place: | passam ag |  |  | checked by: | C. Panier
reference: |  |  |  |  | sampling rate: | 0.734 | [ml/min] |  |  |  |  | file name: | DDU012240
[5 empty] | protective filter: | yes | [5 empty] | pages: | 1
note: | applies to the sample as received; results below the detection limit are indicated with "<" and the associated value; this method is accredited to ISO/IEC 17025
measurement uncertainty <25%; sampling rate related to 20 °C; further information at www.passam.ch
measuring site | passive sampler |  | measuring period |  |  |  |  | measurement |  |  | result |  | Comment on the analysis
|  |  | start |  | end |  | exp. time | blank | sample |  | m analyte/ sampler | C
| label | lot no. | [6 empty] | dilution | value |  | NO2
|  |  | date | time | date | time | [h] | [ABS] |  | [ABS] | [ug] | [ug/m3]
Sokolská/Ječná , Prague | DDU-2710 | 44544 | 2022-08-30 | 9:47 | 2022-09-29 | 14:20 | 724.55 | 0.002 | 1:2 | 0.406 | 1.8 | 56.41
Rumunská / Legerova, Prague | 2722 | 44544 | 2022-08-30 | 9:43 | 2022-09-29 | 14:16 | 724.55 | 0.002 | 1:2 | 0.375 | 1.6622 | 52.092
Ječná / Štěpánská, Prague | 2777 | 44544 | 2022-08-30 | 9:51 | 2022-09-29 | 14:24 | 724.55 | 0.002 | 1:2 | 0.362 | 1.6044 | 50.281
Florenc (bus stop), Prague | 2763 | 44544 | 2022-08-30 | 10:37 | 2022-09-29 | 15:08 | 724.5167 | 0.002 | 1:2 | 0.334 | 1.48 | 46.384
Křižovnická | 424 | 44187 | 2022-08-30 | 10:26 | 2022-09-29 | 14:59 | 724.55 | 0.001 | 1:2 | 0.313 | 1.3889 | 43.526
5. května / Na Veselí , Prague | 2759 | 44544 | 2022-08-30 | 15:41 | 2022-09-29 | 11:19 | 715.6333 | 0.002 | 1:2 | 0.223 | 0.98667 | 31.306
V Botanice 4 (KÚ), Prague | 428 | 44187 | 2022-08-30 | 9:58 | 2022-09-29 | 14:32 | 724.5667 | 0.001 | 1:2 | 0.312 | 1.3844 | 43.386
Plzeňská 38a, Prague | 485 | 44187 | 2022-08-30 | 10:04 | 2022-09-29 | 14:37 | 724.55 | 0.002 | 1:2 | 0.422 | 1.8711 | 58.639
Patočkova / Malovanka | 2735 | 44544 | 2022-08-30 | 14:30 | 2022-09-29 | 9:59 | 715.4833 | 0.002 | 1:2 | 0.328 | 1.4533 | 46.123
Kafkova / Svatovítská, Prague | 489 | 44187 | 2022-08-30 | 14:24 | 2022-09-29 | 9:48 | 715.4 | 0.001 | 1:2 | 0.268 | 1.1889 | 37.735
V Holešovičkách 8/10, Prague | 415 | 44187 | 2022-08-30 | 14:55 | 2022-09-29 | 10:33 | 715.6333 | 0.001 | 1:2 | 0.282 | 1.2511 | 39.697
Argentinská / Dělnická | 423 | 44187 | 2022-08-30 | 10:45 | 2022-09-29 | 10:27 | 719.7 | 0.001 | 1:2 | 0.215 | 0.95333 | 30.078
Českomoravská Balabenka | 2724 | 44544 | 2022-08-30 | 15:04 | 2022-09-29 | 10:42 | 715.6333 | 0.002 | 1:2 | 0.232 | 1.0267 | 32.576
Flora-mall (bus stop), Prague | 2778 | 44544 | 2022-08-30 | 11:21 | 2022-09-29 | 15:29 | 724.1333 | 0.002 | 1:2 | 0.257 | 1.1378 | 35.677
Spořilov, Prague | 2783 | 44544 | 2022-08-30 | 15:35 | 2022-09-29 | 11:09 | 715.5667 | 0.002 | 1:2 | 0.3 | 1.3289 | 42.169
Radlická / Klicperova, Prague | 2740 | 44544 | 2022-08-30 | 10:10 | 2022-09-29 | 14:43 | 724.55 | 0.002 | 1:2 | 0.38 | 1.6844 | 52.789
Na pískách / Evropská, Prague | 449 | 44187 | 2022-08-30 | 14:40 | 2022-09-29 | 10:10 | 715.5 | 0.001 | 1:2 | 0.357 | 1.5844 | 50.283
Bělocerkevská (bus stop), Prague | 441 | 44187 | 2022-08-30 | 15:24 | 2022-09-29 | 11:01 | 715.6167 | 0.001 | 1:2 | 0.22 | 0.97556 | 30.955
Veletržní/Sochařská, Prague | 499 | 44187 | 2022-08-30 | 14:14 | 2022-09-29 | 9:37 | 715.3833 | 0.001 | 1:2 | 0.325 | 1.4422 | 45.777
J.Želivského / Biskupcova | 2758 | 44544 | 2022-08-30 | 11:08 | 2022-09-29 | 15:19 | 724.1833 | 0.002 | 1:2 | 0.337 | 1.4933 | 46.823

## Annex - Sampling
Sampling information
Annex: Test Report Air Pollution Measurement DDU012240
NO2 | Nitrogen dioxide measurement by means of passive sampler
measuring site | passive sampler | measuring period |  |  |  | Optional information
|  | start |  | end |  | Temp | air pressure | Comment on sampling
label
|  | date | time | date | time | [°C] | [hPa]
Sokolská/Ječná , Prague | DDU-2710 | 2022-08-30 | 9:47 | 2022-09-29 | 14:20
Rumunská / Legerova, Prague | 2722 | 2022-08-30 | 9:43 | 2022-09-29 | 14:16
Ječná / Štěpánská, Prague | 2777 | 2022-08-30 | 9:51 | 2022-09-29 | 14:24
Florenc (bus stop), Prague | 2763 | 2022-08-30 | 10:37 | 2022-09-29 | 15:08
Křižovnická | 424 | 2022-08-30 | 10:26 | 2022-09-29 | 14:59
5. května / Na Veselí , Prague | 2759 | 2022-08-30 | 15:41 | 2022-09-29 | 11:19
V Botanice 4 (KÚ), Prague | 428 | 2022-08-30 | 9:58 | 2022-09-29 | 14:32
Plzeňská 38a, Prague | 485 | 2022-08-30 | 10:04 | 2022-09-29 | 14:37
Patočkova / Malovanka | 2735 | 2022-08-30 | 14:30 | 2022-09-29 | 9:59
Kafkova / Svatovítská, Prague | 489 | 2022-08-30 | 14:24 | 2022-09-29 | 9:48
V Holešovičkách 8/10, Prague | 415 | 2022-08-30 | 14:55 | 2022-09-29 | 10:33
Argentinská / Dělnická | 423 | 2022-08-30 | 10:45 | 2022-09-29 | 10:27
Českomoravská Balabenka | 2724 | 2022-08-30 | 15:04 | 2022-09-29 | 10:42
Flora-mall (bus stop), Prague | 2778 | 2022-08-30 | 11:21 | 2022-09-29 | 15:29
Spořilov, Prague | 2783 | 2022-08-30 | 15:35 | 2022-09-29 | 11:09
Radlická / Klicperova, Prague | 2740 | 2022-08-30 | 10:10 | 2022-09-29 | 14:43
Na pískách / Evropská, Prague | 449 | 2022-08-30 | 14:40 | 2022-09-29 | 10:10
Bělocerkevská (bus stop), Prague | 441 | 2022-08-30 | 15:24 | 2022-09-29 | 11:01
Veletržní/Sochařská, Prague | 499 | 2022-08-30 | 14:14 | 2022-09-29 | 9:37
J.Želivského / Biskupcova | 2758 | 2022-08-30 | 11:08 | 2022-09-29 | 15:19