## Report
Test Report Air Pollution Measurement
NO2 | Nitrogen dioxide measurement by means of passive sampler
customer information |  |  |  |  | passive samplers |  |  | analysis |  |  |  | test report
customer: | Deutsche Umwelthilfe |  |  |  | date received: | 07.11.2022 |  | method: | SP01 photometer, Salzmann |  |  | created on: | 09.11.2022
customer ID: | DDU |  |  |  | type: | tube (Palms) |  | analyte: | NO2 |  |  | created by: | K. Bodei
contact person: | Hanna Rhein, Robin Kulpa |  |  |  | pollutant: | NO2 |  | date: | 08.11.2022 |  |  | checked on: | 10.11.2022
project: | Prag, October |  |  |  | limit of detection: | 0.75 ug/m3 (14 days) |  | place: | passam ag |  |  | checked by: | S. Huber
reference: |  |  |  |  | sampling rate: | 0.734 | [ml/min] |  |  |  |  | file name: | DDU012243
[5 empty] | protective filter: | yes | [5 empty] | pages: | 1
note: | applies to the sample as received; results below the detection limit are indicated with "<" and the associated value; this method is accredited to ISO/IEC 17025
measurement uncertainty <25%; sampling rate related to 20 °C; further information at www.passam.ch
measuring site | passive sampler |  | measuring period |  |  |  |  | measurement |  |  | result |  | Comment on the analysis
|  |  | start |  | end |  | exp. time | blank | sample |  | m analyte/ sampler | C
| label | lot no. | [6 empty] | dilution | value |  | NO2
|  |  | date | time | date | time | [h] | [ABS] |  | [ABS] | [ug] | [ug/m3]
Sokolská/Ječná , Prague | DDU-435 | 44187 | 2022-09-29 | 14:20 | 2022-10-30 | 14:40 | 744.3333 | 0.001 | 1:2 | 0.414 | 1.8378 | 56.063
Rumunská / Legerova, Prague | 409 | 44187 | 2022-09-29 | 14:16 | 2022-10-30 | 14:34 | 744.3 | 0.001 | 1:2 | 0.337 | 1.4956 | 45.626
Ječná / Štěpánská, Prague | 2794 | 44544 | 2022-09-29 | 14:24 | 2022-10-30 | 14:47 | 744.3833 | 0.002 | 1:2 | 0.353 | 1.5644 | 47.722
Florenc (bus stop), Prague | 448 | 44187 | 2022-09-29 | 15:08 | 2022-10-30 | 15:39 | 744.5167 | 0.001 | 1:2 | 0.3 | 1.3311 | 40.597
Křižovnická | 2720 | 44544 | 2022-09-29 | 14:59 | 2022-10-30 | 15:25 | 744.4333 | 0.002 | 1:2 | 0.275 | 1.2178 | 37.145
5. května / Na Veselí , Prague | 2772 | 44544 | 2022-09-29 | 11:19 | 2022-10-30 | 10:51 | 743.5333 | 0.002 | 1:2 | 0.222 | 0.98222 | 29.996
V Botanice 4 (KÚ), Prague | 1367 | 44188 | 2022-09-29 | 14:32 | 2022-10-30 | 14:54 | 744.3667 | 0.002 | 1:2 | 0.305 | 1.3511 | 41.215
Plzeňská 38a, Prague | 2727 | 44544 | 2022-09-29 | 14:37 | 2022-10-30 | 15:04 | 744.45 | 0.002 | 1:2 | 0.372 | 1.6489 | 50.293
Patočkova / Malovanka | 430 | 44187 | 2022-09-29 | 9:59 | 2022-10-30 | 9:46 | 743.7833 | 0.001 | 1:2 | 0.327 | 1.4511 | 44.3
Kafkova / Svatovítská, Prague | 2745 | 44544 | 2022-09-29 | 9:48 | 2022-10-30 | 9:37 | 743.8167 | 0.002 | 1:2 | 0.248 | 1.0978 | 33.512
V Holešovičkách 8/10, Prague | 2723 | 44544 | 2022-09-29 | 10:33 | 2022-10-30 | 10:11 | 743.6333 | 0.002 | 1:2 | 0.271 | 1.2 | 36.642
Argentinská / Dělnická | 438 | 44187 | 2022-09-29 | 10:27 | 2022-10-30 | 10:07 | 743.6667 | 0.001 | 1:2 | 0.243 | 1.0778 | 32.908
Českomoravská Balabenka | 2776 | 44544 | 2022-09-29 | 10:42 | 2022-10-30 | 10:18 | 743.6 | 0.002 | 1:2 | 0.223 | 0.98667 | 30.129
Flora-mall (bus stop), Prague | 2797 | 44544 | 2022-09-29 | 15:29 | 2022-10-30 | 15:50 | 744.35 | 0.002 | 1:2 | 0.267 | 1.1822 | 36.064
Spořilov, Prague | 2712 | 44544 | 2022-09-29 | 11:09 | 2022-10-30 | 10:40 | 743.5167 | 0.002 | 1:2 | 0.266 | 1.1778 | 35.969
Radlická / Klicperova, Prague | 2746 | 44544 | 2022-09-29 | 14:43 | 2022-10-30 | 15:10 | 744.45 | 0.002 | 1:2 | 0.325 | 1.44 | 43.922
Na pískách / Evropská, Prague | 436 | 44187 | 2022-09-29 | 10:10 | 2022-10-30 | 9:54 | 743.7333 | 0.001 | 1:2 | 0.339 | 1.5044 | 45.931
Bělocerkevská (bus stop), Prague | 2718 | 44544 | 2022-09-29 | 11:01 | 2022-10-30 | 10:34 | 743.55 | 0.002 | 1:2 | 0.228 | 1.0089 | 30.81
Veletržní/Sochařská, Prague | 2705 | 44544 | 2022-09-29 | 9:37 | 2022-10-30 | 9:30 | 743.8833 | 0.002 | 1:2 | 0.326 | 1.4444 | 44.091
J.Želivského / Biskupcova | 2781 | 44544 | 2022-09-29 | 15:19 | 2022-10-30 | 10:28 | 739.15 | 0.002 | 1:2 | 0.341 | 1.5111 | 46.421

## Annex - Sampling
Sampling information
Annex: Test Report Air Pollution Measurement DDU012243
NO2 | Nitrogen dioxide measurement by means of passive sampler
measuring site | passive sampler | measuring period |  |  |  | Optional information
|  | start |  | end |  | Temp | air pressure | Comment on sampling
label
|  | date | time | date | time | [°C] | [hPa]
Sokolská/Ječná , Prague | DDU-435 | 2022-09-29 | 14:20 | 2022-10-30 | 14:40
Rumunská / Legerova, Prague | 409 | 2022-09-29 | 14:16 | 2022-10-30 | 14:34
Ječná / Štěpánská, Prague | 2794 | 2022-09-29 | 14:24 | 2022-10-30 | 14:47
Florenc (bus stop), Prague | 448 | 2022-09-29 | 15:08 | 2022-10-30 | 15:39
Křižovnická | 2720 | 2022-09-29 | 14:59 | 2022-10-30 | 15:25
5. května / Na Veselí , Prague | 2772 | 2022-09-29 | 11:19 | 2022-10-30 | 10:51
V Botanice 4 (KÚ), Prague | 1367 | 2022-09-29 | 14:32 | 2022-10-30 | 14:54
Plzeňská 38a, Prague | 2727 | 2022-09-29 | 14:37 | 2022-10-30 | 15:04
Patočkova / Malovanka | 430 | 2022-09-29 | 9:59 | 2022-10-30 | 9:46
Kafkova / Svatovítská, Prague | 2745 | 2022-09-29 | 9:48 | 2022-10-30 | 9:37
V Holešovičkách 8/10, Prague | 2723 | 2022-09-29 | 10:33 | 2022-10-30 | 10:11
Argentinská / Dělnická | 438 | 2022-09-29 | 10:27 | 2022-10-30 | 10:07
Českomoravská Balabenka | 2776 | 2022-09-29 | 10:42 | 2022-10-30 | 10:18
Flora-mall (bus stop), Prague | 2797 | 2022-09-29 | 15:29 | 2022-10-30 | 15:50
Spořilov, Prague | 2712 | 2022-09-29 | 11:09 | 2022-10-30 | 10:40
Radlická / Klicperova, Prague | 2746 | 2022-09-29 | 14:43 | 2022-10-30 | 15:10
Na pískách / Evropská, Prague | 436 | 2022-09-29 | 10:10 | 2022-10-30 | 9:54
Bělocerkevská (bus stop), Prague | 2718 | 2022-09-29 | 11:01 | 2022-10-30 | 10:34
Veletržní/Sochařská, Prague | 2705 | 2022-09-29 | 9:37 | 2022-10-30 | 9:30
J.Želivského / Biskupcova | 2781 | 2022-09-29 | 15:19 | 2022-10-30 | 10:28