## Report
Test Report Air Pollution Measurement
NO2 | Nitrogen dioxide measurement by means of passive sampler
customer information |  |  |  |  | passive samplers |  |  | analysis |  |  |  | test report
customer: | Deutsche Umwelthilfe |  |  |  | date received: | 05.12.2022 |  | method: | SP01 photometer, Salzmann |  |  | created on: | 05.12.2022
customer ID: | DDU |  |  |  | type: | tube (Palms) |  | analyte: | NO2 |  |  | created by: | K. Bodei
contact person: | Hanna Rhein, Robin Kulpa |  |  |  | pollutant: | NO2 |  | date: | 05.12.2022 |  |  | checked on: | 06.12.2022
project: | Prague, November |  |  |  | limit of detection: | 0.75 ug/m3 (14 days) |  | place: | passam ag |  |  | checked by: | S. Huber
reference: |  |  |  |  | sampling rate: | 0.734 | [ml/min] |  |  |  |  | file name: | DDU012245
[5 empty] | protective filter: | yes | [5 empty] | pages: | 1
note: | applies to the sample as received; results below the detection limit are indicated with "<" and the associated value; this method is accredited to ISO/IEC 17025
measurement uncertainty <25%; sampling rate related to 20 °C; further information at www.passam.ch
measuring site | passive sampler |  | measuring period |  |  |  |  | measurement |  |  | result |  | Comment on the analysis
|  |  | start |  | end |  | exp. time | blank | sample |  | m analyte/ sampler | C
| label | lot no. | [6 empty] | dilution | value |  | NO2
|  |  | date | time | date | time | [h] | [ABS] |  | [ABS] | [ug] | [ug/m3]
Sokolská/Ječná , Prague | DDU-36 | 44187 | 2022-10-30 | 14:40 | 2022-11-29 | 11:18 | 716.6333 | 0.001 | 1:2 | 0.362 | 1.6067 | 50.908
Rumunská / Legerova, Prague | 5 | 44187 | 2022-10-30 | 14:34 | 2022-11-29 | 11:11 | 716.6167 | 0.001 | 1:2 | 0.284 | 1.26 | 39.924
Ječná / Štěpánská, Prague | 51 | 44187 | 2022-10-30 | 14:47 | 2022-11-29 | 11:26 | 716.65 | 0.001 | 1:2 | 0.323 | 1.4333 | 45.414
Florenc (bus stop), Prague | 69 | 44187 | 2022-10-30 | 15:39 | 2022-11-29 | 11:48 | 716.15 | 0.001 | 1:2 | 0.272 | 1.2067 | 38.259
Křižovnická | 882 | 44187 | 2022-10-30 | 15:25 | 2022-11-29 | 11:38 | 716.2167 | 0.001 | 1:2 | 0.264 | 1.1711 | 37.128
5. května / Na Veselí , Prague | 15 | 44187 | 2022-10-30 | 10:51 | 2022-11-28 | 14:18 | 699.45 | 0.001 | 1:2 | 0.205 | 0.90889 | 29.506
V Botanice 4 (KÚ), Prague | 80 | 44187 | 2022-10-30 | 14:54 | 2022-11-28 | 14:38 | 695.7333 | 0.001 | 1:2 | 0.258 | 1.1444 | 37.351
Plzeňská 38a, Prague | 29 | 44187 | 2022-10-30 | 15:04 | 2022-11-28 | 14:48 | 695.7333 | 0.001 | 1:2 | 0.332 | 1.4733 | 48.085
Patočkova / Malovanka | 61 | 44187 | 2022-10-30 | 9:46 | 2022-11-28 | 12:26 | 698.6667 | 0.001 | 1:2 | 0.263 | 1.1667 | 37.917
Kafkova / Svatovítská, Prague | 456 | 44187 | 2022-10-30 | 9:37 | 2022-11-28 | 12:13 | 698.6 | 0.001 | 1:2 | 0.269 | 1.1933 | 38.787
V Holešovičkách 8/10, Prague | 883 | 44187 | 2022-10-30 | 10:11 | 2022-11-28 | 13:09 | 698.9667 | 0.001 | 1:2 | 0.282 | 1.2511 | 40.644
Argentinská / Dělnická | 57 | 44187 | 2022-10-30 | 10:07 | 2022-11-28 | 13:03 | 698.9333 | 0.001 | 1:2 | 0.197 | 0.87333 | 28.372
Českomoravská Balabenka | 10 | 44187 | 2022-10-30 | 10:18 | 2022-11-28 | 13:21 | 699.05 | 0.001 | 1:2 | 0.228 | 1.0111 | 32.843
Flora-mall (bus stop), Prague | 56 | 44187 | 2022-10-30 | 15:50 | 2022-11-28 | 15:27 | 695.6167 | 0.001 | 1:2 | 0.242 | 1.0733 | 35.036
Spořilov, Prague | 2711 | 44544 | 2022-10-30 | 10:40 | 2022-11-28 | 14:06 | 699.4333 | 0.002 | 1:2 | 0.235 | 1.04 | 33.763
Radlická / Klicperova, Prague | 22 | 44187 | 2022-10-30 | 15:10 | 2022-11-28 | 14:59 | 695.8167 | 0.001 | 1:2 | 0.301 | 1.3356 | 43.583
Na pískách / Evropská, Prague | 855 | 44187 | 2022-10-30 | 9:54 | 2022-11-28 | 12:44 | 698.8333 | 0.001 | 1:2 | 0.278 | 1.2333 | 40.074
Bělocerkevská (bus stop), Prague | 427 | 44187 | 2022-10-30 | 10:34 | 2022-11-28 | 13:54 | 699.3333 | 0.001 | 1:2 | 0.214 | 0.94889 | 30.809
Veletržní/Sochařská, Prague | 28 | 44187 | 2022-10-30 | 9:30 | 2022-11-28 | 12:01 | 698.5167 | 0.001 | 1:2 | 0.253 | 1.1222 | 36.48
J.Želivského / Biskupcova | 865 | 44187 | 2022-10-30 | 10:28 | 2022-11-28 | 13:42 | 699.2333 | 0.001 | 1:2 | 0.312 | 1.3844 | 44.958

## Annex - Sampling
Sampling information
Annex: Test Report Air Pollution Measurement DDU012245
NO2 | Nitrogen dioxide measurement by means of passive sampler
measuring site | passive sampler | measuring period |  |  |  | Optional information
|  | start |  | end |  | Temp | air pressure | Comment on sampling
label
|  | date | time | date | time | [°C] | [hPa]
Sokolská/Ječná , Prague | DDU-36 | 2022-10-30 | 14:40 | 2022-11-29 | 11:18
Rumunská / Legerova, Prague | 5 | 2022-10-30 | 14:34 | 2022-11-29 | 11:11
Ječná / Štěpánská, Prague | 51 | 2022-10-30 | 14:47 | 2022-11-29 | 11:26
Florenc (bus stop), Prague | 69 | 2022-10-30 | 15:39 | 2022-11-29 | 11:48
Křižovnická | 882 | 2022-10-30 | 15:25 | 2022-11-29 | 11:38
5. května / Na Veselí , Prague | 15 | 2022-10-30 | 10:51 | 2022-11-28 | 14:18
V Botanice 4 (KÚ), Prague | 80 | 2022-10-30 | 14:54 | 2022-11-28 | 14:38
Plzeňská 38a, Prague | 29 | 2022-10-30 | 15:04 | 2022-11-28 | 14:48
Patočkova / Malovanka | 61 | 2022-10-30 | 9:46 | 2022-11-28 | 12:26
Kafkova / Svatovítská, Prague | 456 | 2022-10-30 | 9:37 | 2022-11-28 | 12:13
V Holešovičkách 8/10, Prague | 883 | 2022-10-30 | 10:11 | 2022-11-28 | 13:09
Argentinská / Dělnická | 57 | 2022-10-30 | 10:07 | 2022-11-28 | 13:03
Českomoravská Balabenka | 10 | 2022-10-30 | 10:18 | 2022-11-28 | 13:21
Flora-mall (bus stop), Prague | 56 | 2022-10-30 | 15:50 | 2022-11-28 | 15:27
Spořilov, Prague | 2711 | 2022-10-30 | 10:40 | 2022-11-28 | 14:06
Radlická / Klicperova, Prague | 22 | 2022-10-30 | 15:10 | 2022-11-28 | 14:59
Na pískách / Evropská, Prague | 855 | 2022-10-30 | 9:54 | 2022-11-28 | 12:44
Bělocerkevská (bus stop), Prague | 427 | 2022-10-30 | 10:34 | 2022-11-28 | 13:54
Veletržní/Sochařská, Prague | 28 | 2022-10-30 | 9:30 | 2022-11-28 | 12:01
J.Želivského / Biskupcova | 865 | 2022-10-30 | 10:28 | 2022-11-28 | 13:42