## Report
Test Report Air Pollution Measurement
NO2 | Nitrogen dioxide measurement by means of passive sampler
customer information |  |  |  |  | passive samplers |  |  | analysis |  |  |  | test report
customer: | Deutsche Umwelthilfe |  |  |  | date received: | 04.01.2023 |  | method: | SP01 photometer, Salzmann |  |  | created on: | 06.01.2023
customer ID: | DDU |  |  |  | type: | tube (Palms) |  | analyte: | NO2 |  |  | created by: | K. Bodei
contact person: | Hanna Rhein, Robin Kulpa |  |  |  | pollutant: | NO2 |  | date: | 05.01.2023 |  |  | checked on: | 09.01.2023
project: | Prag, December |  |  |  | limit of detection: | 0.75 ug/m3 (14 days) |  | place: | passam ag |  |  | checked by: | S. Huber
reference: |  |  |  |  | sampling rate: | 0.734 | [ml/min] |  |  |  |  | file name: | DDU012247
[5 empty] | protective filter: | yes | [5 empty] | pages: | 1
note: | applies to the sample as received; results below the detection limit are indicated with "<" and the associated value; this method is accredited to ISO/IEC 17025
measurement uncertainty <25%; sampling rate related to 20 °C; further information at www.passam.ch
measuring site | passive sampler |  | measuring period |  |  |  |  | measurement |  |  | result |  | Comment on the analysis
|  |  | start |  | end |  | exp. time | blank | sample |  | m analyte/ sampler | C
| label | lot no. | [6 empty] | dilution | value |  | NO2
|  |  | date | time | date | time | [h] | [ABS] |  | [ABS] | [ug] | [ug/m3]
Sokolská/Ječná , Prague | DDU-90 | 44187 | 2022-11-29 | 11:18 | 2022-12-28 | 14:58 | 699.6667 | 0.001 | 1:2 | 0.328 | 1.4556 | 47.238
Rumunská / Legerova, Prague | 835 | 44187 | 2022-11-29 | 11:11 | 2022-12-28 | 14:51 | 699.6667 | 0.001 | 1:2 | 0.302 | 1.34 | 43.488
Ječná / Štěpánská, Prague | 1 | 44187 | 2022-11-29 | 11:26 | 2022-12-28 | 15:06 | 699.6667 | 0.001 | 1:2 | 0.315 | 1.3978 | 45.363
Florenc (bus stop), Prague | 16 | 44187 | 2022-11-29 | 11:48 | 2022-12-28 | 16:02 | 700.2333 | 0.001 | 1:2 | 0.276 | 1.2244 | 39.705
Křižovnická | 35 | 44187 | 2022-11-29 | 11:38 | 2022-12-28 | 15:48 | 700.1667 | 0.001 | 1:2 | 0.27 | 1.1978 | 38.844
5. května / Na Veselí , Prague | 896 | 44187 | 2022-11-28 | 14:18 | 2022-12-28 | 13:25 | 719.1167 | 0.001 | 1:2 | 0.236 | 1.0467 | 33.049
V Botanice 4 (KÚ), Prague | 408 | 44187 | 2022-11-28 | 14:38 | 2022-12-28 | 15:16 | 720.6333 | 0.001 | 1:2 | 0.271 | 1.2022 | 37.881
Plzeňská 38a, Prague | 498 | 44187 | 2022-11-28 | 14:48 | 2022-12-28 | 15:24 | 720.6 | 0.001 | 1:2 | 0.379 | 1.6822 | 53.008
Patočkova / Malovanka | 79 | 44187 | 2022-11-28 | 12:26 | 2022-12-28 | 11:48 | 719.3667 | 0.001 | 1:2 | 0.263 | 1.1667 | 36.826
Kafkova / Svatovítská, Prague | 30 | 44187 | 2022-11-28 | 12:13 | 2022-12-28 | 11:37 | 719.4 | 0.001 | 1:2 | 0.246 | 1.0911 | 34.439
V Holešovičkách 8/10, Prague | 33 | 44187 | 2022-11-28 | 13:09 | 2022-12-28 | 12:24 | 719.25 | 0.001 | 1:2 | 0.33 | 1.4644 | 46.232
Argentinská / Dělnická | 826 | 44187 | 2022-11-28 | 13:03 | 2022-12-28 | 12:19 | 719.2667 | 0.001 | 1:2 | 0.238 | 1.0556 | 33.323
Českomoravská Balabenka | 434 | 44187 | 2022-11-28 | 13:21 | 2022-12-28 | 12:35 | 719.2333 | 0.001 | 1:2 | 0.242 | 1.0733 | 33.886
Flora-mall (bus stop), Prague | 24 | 44187 | 2022-11-28 | 15:27 | 2022-12-28 | 17:20 | 721.8833 | 0.001 | 1:2 | 0.263 | 1.1667 | 36.697
Spořilov, Prague | 486 | 44187 | 2022-11-28 | 14:06 | 2022-12-28 | 13:15 | 719.15 | 0.001 | 1:2 | 0.254 | 1.1267 | 35.574
Radlická / Klicperova, Prague | 416 | 44187 | 2022-11-28 | 14:59 | 2022-12-28 | 15:34 | 720.5833 | 0.001 | 1:2 | 0.312 | 1.3844 | 43.626
Na pískách / Evropská, Prague | 92 | 44187 | 2022-11-28 | 12:44 | 2022-12-28 | 11:59 | 719.25 | 0.001 | 1:2 | 0.311 | 1.38 | 43.566
Bělocerkevská (bus stop), Prague | 40 | 44187 | 2022-11-28 | 13:54 | 2022-12-28 | 13:03 | 719.15 | 0.001 | 1:2 | 0.238 | 1.0556 | 33.329
Veletržní/Sochařská, Prague | 42 | 44187 | 2022-11-28 | 12:01 | 2022-12-28 | 11:29 | 719.4667 | 0.001 | 1:2 | 0.262 | 1.1622 | 36.68
J.Želivského / Biskupcova | 893 | 44187 | 2022-11-28 | 13:42 | 2022-12-28 | 12:51 | 719.15 | 0.001 | 1:2 | 0.302 | 1.34 | 42.31

## Annex - Sampling
Sampling information
Annex: Test Report Air Pollution Measurement DDU012247
NO2 | Nitrogen dioxide measurement by means of passive sampler
measuring site | passive sampler | measuring period |  |  |  | Optional information
|  | start |  | end |  | Temp | air pressure | Comment on sampling
label
|  | date | time | date | time | [°C] | [hPa]
Sokolská/Ječná , Prague | DDU-90 | 2022-11-29 | 11:18 | 2022-12-28 | 14:58
Rumunská / Legerova, Prague | 835 | 2022-11-29 | 11:11 | 2022-12-28 | 14:51
Ječná / Štěpánská, Prague | 1 | 2022-11-29 | 11:26 | 2022-12-28 | 15:06
Florenc (bus stop), Prague | 16 | 2022-11-29 | 11:48 | 2022-12-28 | 16:02
Křižovnická | 35 | 2022-11-29 | 11:38 | 2022-12-28 | 15:48
5. května / Na Veselí , Prague | 896 | 2022-11-28 | 14:18 | 2022-12-28 | 13:25
V Botanice 4 (KÚ), Prague | 408 | 2022-11-28 | 14:38 | 2022-12-28 | 15:16
Plzeňská 38a, Prague | 498 | 2022-11-28 | 14:48 | 2022-12-28 | 15:24
Patočkova / Malovanka | 79 | 2022-11-28 | 12:26 | 2022-12-28 | 11:48
Kafkova / Svatovítská, Prague | 30 | 2022-11-28 | 12:13 | 2022-12-28 | 11:37
V Holešovičkách 8/10, Prague | 33 | 2022-11-28 | 13:09 | 2022-12-28 | 12:24
Argentinská / Dělnická | 826 | 2022-11-28 | 13:03 | 2022-12-28 | 12:19
Českomoravská Balabenka | 434 | 2022-11-28 | 13:21 | 2022-12-28 | 12:35
Flora-mall (bus stop), Prague | 24 | 2022-11-28 | 15:27 | 2022-12-28 | 17:20
Spořilov, Prague | 486 | 2022-11-28 | 14:06 | 2022-12-28 | 13:15
Radlická / Klicperova, Prague | 416 | 2022-11-28 | 14:59 | 2022-12-28 | 15:34
Na pískách / Evropská, Prague | 92 | 2022-11-28 | 12:44 | 2022-12-28 | 11:59
Bělocerkevská (bus stop), Prague | 40 | 2022-11-28 | 13:54 | 2022-12-28 | 13:03
Veletržní/Sochařská, Prague | 42 | 2022-11-28 | 12:01 | 2022-12-28 | 11:29
J.Želivského / Biskupcova | 893 | 2022-11-28 | 13:42 | 2022-12-28 | 12:51